## Plate results
PLATE RESULTS
PROTOCOL RUN TYPE | START
PROTOCOL NAME | QS Gone Krystal Violet Assay
MEASUREMENT START DATE | 2/24/2023 8:52:22 PM |  | UTC | 2023-02-25T01:52:22+0000
MEASUREMENT END DATE | 2/24/2023 8:53:36 PM |  | UTC | 2023-02-25T01:53:36+0000
Plate | 0
Barcode | 0
1 OPERATION | ABS (F) - EndPoint
TEMPERATURE(Celsius) | 36.8
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.051 | 0.046 | 0.655 | 0.163 | 1.074 | 0.11 | 0.758 | 0.097 | 0.874 | 0.106 | 0.668 | 0.09 | EC
B | 0.058 | 0.054 | 0.092 | 0.083 | 0.39 | 0.069 | 0.328 | 0.075 | 0.375 | 0.072 | 0.297 | 0.092
C | 0.05 | 0.054 | 0.115 | 0.127 | 1.385 | 0.075 | 1.18 | 0.081 | 1.478 | 0.078 | 1.533 | 0.098
D | 0.063 | 0.156 | 0.146 | 0.229 | 0.552 | 0.166 | 0.611 | 0.164 | 0.6 | 0.115 | 2.035 | 0.184 | ECGFP
E | 1.832 | 0.118 | 0.102 | 0.113 | 0.516 | 0.165 | 0.599 | 0.178 | 0.714 | 0.158 | 0.975 | 0.152
F | 0.083 | 0.166 | 0.171 | 0.195 | 2.293 | 0.157 | 2.146 | 0.133 | 2.038 | 0.123 | 2.172 | 0.17
G | 0.049 | 0.048 | 0.058 | 0.048 | 0.053 | 0.047 | 0.049 | 0.05 | 0.046 | 0.047 | 0.051 | 0.048
H | 0.05 | 0.053 | 0.048 | 0.05 | 0.049 | 0.046 | 0.049 | 0.052 | 0.048 | 0.049 | 0.053 | 0.046

## Parameters
PARAMETERS
MEASUREMENT START DATE | 2/24/2023 8:52:22 PM |  | UTC | 2023-02-25T01:52:22+0000
MEASUREMENT END DATE | 2/24/2023 8:53:36 PM |  | UTC | 2023-02-25T01:53:36+0000
USER NAME
MEASUREMENT COMMENTS | 2/24/2023 8:53:41 PM 2023-02-25T01:53:41+0000 EC first 3, EC-GFP sexcond 3
User interface program version | 5.0.0
Instrument serial number | 1022134
PROTOCOL CREATION DATE | 2/24/2023 8:37:17 PM |  | UTC | 2023-02-25T01:37:17+0000
PROTOCOL CREATOR NAME
PROTOCOL RUN TYPE | START
PLATES WITH LIDS | n.a.
MEASURE WITH LIDS | n.a.
BARCODE READING | n.a.
PLATE TYPE | General 96
PLATE FORMAT | 96 wells (8X12)
PLATE PARAMETERS
A1 row-coordinate(µm) | 11240
A1 column-coordinate(µm) | 14380
Well spacing (µm) | 9000
Well diameter(µm) | 6500
Well volume(µl) | 200
1 OPERATION | ABS (F)-EndPoint
MEASUREMENT UNIT | OD
MEASUREMENT TYPE | Single label
EXCITATION FILTER | 580/20nm
MEASUREMENT TIME (ms) | 500
MEASUREMENT ORDER | Bi-directional by rows
PROTOCOL COMMENT
PLATE MAP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
B | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
C | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
D | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
E | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
F | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
G | X | X | X | X | X | X | X | X | X | X | X | X
H | X | X | X | X | X | X | X | X | X | X | X | X
SAMPLE CONCENTRATIONS
Standard 1 (S1): | 10 | uM
Standard 2 (S2): | 20 | uM
Standard 3 (S3): | 100 | uM
Standard 4 (S4): | 500 | uM
Standard 5 (S5): | 1000 | uM