## Plate results
PLATE RESULTS | [12 empty] | 0 | 1 | 0.5 | A
[13 empty] | 0 | 2 | 0.435 | A
PROTOCOL RUN TYPE | START | [11 empty] | 0 | 3 | 0.476 | A
PROTOCOL NAME | Phenol Red pH assay QSGone | [11 empty] | 0 | 4 | 0.597 | A
[13 empty] | 0 | 5 | 0.652 | A
MEASUREMENT START DATE | 3/24/2023 8:05:14 PM |  | UTC | 2023-03-25T00:05:14+0000 | [8 empty] | 0 | 6 | 0.796 | A
MEASUREMENT END DATE | 3/24/2023 10:57:32 PM |  | UTC | 2023-03-25T02:57:32+0000 | [8 empty] | 0 | 7 | 0.854 | A
[13 empty] | 0 | 8 | 0.531 | A
Plate | 0 | [11 empty] | 0 | 9 | 1.985 | A
Barcode | 0 | [11 empty] | 0 | 10 | 0.841 | A
[13 empty] | 0 | 11 | 1.134 | A
3 OPERATION | ABS (F) - Kinetics | [11 empty] | 0 | 12 | 0.483 | A
TEMPERATURE(Celsius) | 27.6 | [11 empty] | 0 | 1 | 0.515 | B
Cycle | 1 | Time(s) | 0 | [9 empty] | 0 | 2 | 0.451 | B
Plate | 0 | [11 empty] | 0 | 3 | 0.512 | B
Barcode | 0 | [11 empty] | 0 | 4 | 0.589 | B
[13 empty] | 0 | 5 | 0.683 | B | [14 empty] | pH standards | [5 empty] | experimental conditions
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 6 | 0.802 | B |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 8.13 | 7.92 | 7.8 | 7.55 | 7.33 | 6.92 | 6.51 | blank | 12C AHL | acetic acid | 12C AHL+PON2 | 8C AHL+PON2
A | 0.5 | 0.435 | 0.476 | 0.597 | 0.652 | 0.796 | 0.854 | 0.531 | 1.985 | 0.841 | 1.134 | 0.483 | 0 | 7 | 0.896 | B | A | 0.5 | 0.435 | 0.476 | 0.597 | 0.652 | 0.796 | 0.854 | 0.531 | 1.985 | 0.841 | 1.134 | 0.483 | abs avg | 0.505 | 0.44233 | 0.50067 | 0.58933 | 0.66633 | 0.81133 | 0.84733 | 0.522 | 1.9643 | 0.856 | 1.283 | 0.492
B | 0.515 | 0.451 | 0.512 | 0.589 | 0.683 | 0.802 | 0.896 | 0.523 | 1.929 | 0.865 | 1.318 | 0.503 | 0 | 8 | 0.523 | B | B | 0.515 | 0.451 | 0.512 | 0.589 | 0.683 | 0.802 | 0.896 | 0.523 | 1.929 | 0.865 | 1.318 | 0.503 | abs std | 0.005 | 0.0046667 | 0.012347 | 0.0043333 | 0.0090247 | 0.012454 | 0.030207 | 0.0055076 | 0.017751 | 0.0075498 | 0.077912 | 0.0058595
C | 0.5 | 0.441 | 0.514 | 0.582 | 0.664 | 0.836 | 0.792 | 0.512 | 1.979 | 0.862 | 1.397 | 0.49 | 0 | 9 | 1.929 | B | C | 0.5 | 0.441 | 0.514 | 0.582 | 0.664 | 0.836 | 0.792 | 0.512 | 1.979 | 0.862 | 1.397 | 0.49 | pH | 7.899 | 8.1361 | 7.9154 | 7.5799 | 7.2886 | 6.7399 | 6.6037 | 7.8347 | 2.3775 | 6.5709 | 4.9554 | 7.9482
D | 0.058 | 0.058 | 0.059 | 0.058 | 0.056 | 0.054 | 0.059 | 0.056 | 0.056 | 0.058 | 0.056 | 0.056 | 0 | 10 | 0.865 | B | D | 0.058 | 0.058 | 0.059 | 0.058 | 0.056 | 0.054 | 0.059 | 0.056 | 0.056 | 0.058 | 0.056 | 0.056 | error pH | 0.012379 | 0.012245 | 0.030674 | 0.010267 | 0.021436 | 0.032935 | 0.083226 | 0.013468 | 0.15681 | 0.021019 | 0.37453 | 0.014661
E | 0.06 | 0.056 | 0.064 | 0.053 | 0.055 | 0.059 | 0.055 | 0.058 | 0.059 | 0.056 | 0.062 | 0.062 | 0 | 11 | 1.318 | B | E | 0.06 | 0.056 | 0.064 | 0.053 | 0.055 | 0.059 | 0.055 | 0.058 | 0.059 | 0.056 | 0.062 | 0.062 | 95% conf | 0.02591 | 0.025629 | 0.0642 | 0.021488 | 0.044866 | 0.068934 | 0.17419 | 0.028188 | 0.32821 | 0.043993 | 0.78388 | 0.030686
F | 0.07 | 0.059 | 0.059 | 0.064 | 0.058 | 0.06 | 0.054 | 0.06 | 0.061 | 0.062 | 0.061 | 0.06 | 0 | 12 | 0.503 | B | F | 0.07 | 0.059 | 0.059 | 0.064 | 0.058 | 0.06 | 0.054 | 0.06 | 0.061 | 0.062 | 0.061 | 0.06
G | 0.059 | 0.057 | 0.064 | 0.064 | 0.063 | 0.059 | 0.061 | 0.06 | 0.063 | 0.065 | 0.061 | 0.06 | 0 | 1 | 0.5 | C | G | 0.059 | 0.057 | 0.064 | 0.064 | 0.063 | 0.059 | 0.061 | 0.06 | 0.063 | 0.065 | 0.061 | 0.06
H | 0.06 | 0.059 | 0.063 | 0.055 | 0.06 | 0.056 | 0.06 | 0.058 | 0.06 | 0.062 | 0.064 | 0.063 | 0 | 2 | 0.441 | C | H | 0.06 | 0.059 | 0.063 | 0.055 | 0.06 | 0.056 | 0.06 | 0.058 | 0.06 | 0.062 | 0.064 | 0.063
| 0 0: 0; 5 6: 3; 0.683 0.802: 0.514 | C
3 OPERATION | 1: ABS (F) - Kinetics; 0 0: 0; 5 6: 4; 0.683 0.802: 0.582 | C
TEMPERATURE(Celsius) | 1: 27.6; 0 0: 0; 5 6: 5; 0.683 0.802: 0.664 | C
Cycle | 1: 2; 2: Time(s); 3: 593.3; 0 0: 0; 5 6: 6; 0.683 0.802: 0.836 | C
Plate | 1: 0; 0 0: 0; 5 6: 7; 0.683 0.802: 0.792 | C
Barcode | 1: 0; 0 0: 0; 5 6: 8; 0.683 0.802: 0.512 | C | [14 empty] | pH | ABS | est | (ABS-est)sq | sr
| 0 0: 0; 5 6: 9; 0.683 0.802: 1.979 | C | [14 empty] | 8.13 | 0.5 | 0.61255 | 0.012667 | 0.20849 | sr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 0 | 10 | 0.862 | C | [14 empty] | 8.13 | 0.515 | 0.61255 | 0.0095152 | -0.2643 | b1
A | 0.506 | 0.434 | 0.48 | 0.583 | 0.643 | 0.795 | 0.853 | 0.535 | 1.962 | 0.839 | 1.136 | 0.487 | 0 | 11 | 1.397 | C | [14 empty] | 8.13 | 0.5 | 0.61255 | 0.012667 | 2.5927 | b0
B | 0.523 | 0.446 | 0.504 | 0.581 | 0.675 | 0.797 | 0.888 | 0.518 | 1.85 | 0.859 | 1.295 | 0.527 | 0 | 12 | 0.49 | C | [14 empty] | 7.92 | 0.435 | 0.60116 | 0.02761 | 0.9104 | r2
C | 0.512 | 0.436 | 0.508 | 0.58 | 0.661 | 0.828 | 0.794 | 0.516 | 1.928 | 0.862 | 1.494 | 0.515 | 593.3 | 1 | 0.506 | A | [14 empty] | 7.92 | 0.451 | 0.60116 | 0.022549 | 0.62319 | avg sig
D | 0.047 | 0.048 | 0.05 | 0.049 | 0.054 | 0.047 | 0.057 | 0.053 | 0.06 | 0.058 | 0.058 | 0.062 | 593.3 | 2 | 0.434 | A | [14 empty] | 7.92 | 0.441 | 0.60116 | 0.025653 | 5.0864 | deviation of C std
E | 0.044 | 0.051 | 0.052 | 0.052 | 0.05 | 0.048 | 0.048 | 0.049 | 0.051 | 0.057 | 0.049 | 0.05 | 593.3 | 3 | 0.48 | A | [14 empty] | 7.8 | 0.476 | 0.59466 | 0.01408 | 2.093 | t for 95% CI 21-2 dof
F | 0.061 | 0.054 | 0.052 | 0.053 | 0.054 | 0.051 | 0.053 | 0.051 | 0.051 | 0.051 | 0.052 | 0.05 | 593.3 | 4 | 0.583 | A | [14 empty] | 7.8 | 0.512 | 0.59466 | 0.0068327
G | 0.052 | 0.052 | 0.049 | 0.054 | 0.05 | 0.053 | 0.053 | 0.052 | 0.051 | 0.058 | 0.054 | 0.053 | 593.3 | 5 | 0.643 | A | [14 empty] | 7.8 | 0.514 | 0.59466 | 0.006506
H | 0.05 | 0.048 | 0.053 | 0.066 | 0.064 | 0.061 | 0.06 | 0.065 | 0.055 | 0.052 | 0.051 | 0.056 | 593.3 | 6 | 0.795 | A | [14 empty] | 7.55 | 0.597 | 0.58111 | 0.00025249
| 0 0: 593.3; 9 10: 7; 1.979 0.862: 0.853 | A | [14 empty] | 7.55 | 0.589 | 0.58111 | 6.2252e-05
3 OPERATION | 1: ABS (F) - Kinetics; 0 0: 593.3; 9 10: 8; 1.979 0.862: 0.535 | A | [14 empty] | 7.55 | 0.582 | 0.58111 | 7.921e-07
TEMPERATURE(Celsius) | 1: 27.6; 0 0: 593.3; 9 10: 9; 1.979 0.862: 1.962 | A | [14 empty] | 7.33 | 0.652 | 0.56919 | 0.0068582
Cycle | 1: 3; 2: Time(s); 3: 1186.6; 0 0: 593.3; 9 10: 10; 1.979 0.862: 0.839 | A | [14 empty] | 7.33 | 0.683 | 0.56919 | 0.012954
Plate | 1: 0; 0 0: 593.3; 9 10: 11; 1.979 0.862: 1.136 | A | [14 empty] | 7.33 | 0.664 | 0.56919 | 0.0089897
Barcode | 1: 0; 0 0: 593.3; 9 10: 12; 1.979 0.862: 0.487 | A | [14 empty] | 6.92 | 0.796 | 0.54696 | 0.062019
| 0 0: 593.3; 9 10: 1; 1.979 0.862: 0.523 | B | [14 empty] | 6.92 | 0.802 | 0.54696 | 0.065043
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 593.3 | 2 | 0.446 | B | [14 empty] | 6.92 | 0.836 | 0.54696 | 0.083542
A | 0.511 | 0.435 | 0.479 | 0.585 | 0.644 | 0.789 | 0.855 | 0.539 | 1.923 | 0.838 | 1.182 | 0.503 | 593.3 | 3 | 0.504 | B | [14 empty] | 6.51 | 0.854 | 0.52474 | 0.10841
B | 0.53 | 0.448 | 0.507 | 0.585 | 0.678 | 0.794 | 0.894 | 0.522 | 1.905 | 0.857 | 1.29 | 0.532 | 593.3 | 4 | 0.581 | B | [14 empty] | 6.51 | 0.896 | 0.52474 | 0.13783
C | 0.52 | 0.442 | 0.511 | 0.578 | 0.661 | 0.834 | 0.801 | 0.523 | 1.909 | 0.861 | 1.537 | 0.523 | 593.3 | 5 | 0.675 | B | [14 empty] | 6.51 | 0.792 | 0.52474 | 0.071427
D | 0.061 | 0.064 | 0.061 | 0.065 | 0.063 | 0.064 | 0.063 | 0.064 | 0.061 | 0.063 | 0.059 | 0.058 | 593.3 | 6 | 0.797 | B
E | 0.062 | 0.058 | 0.065 | 0.063 | 0.061 | 0.059 | 0.058 | 0.064 | 0.063 | 0.061 | 0.063 | 0.061 | 593.3 | 7 | 0.888 | B
F | 0.069 | 0.062 | 0.064 | 0.061 | 0.062 | 0.059 | 0.06 | 0.066 | 0.061 | 0.06 | 0.064 | 0.063 | 593.3 | 8 | 0.518 | B
G | 0.058 | 0.059 | 0.067 | 0.063 | 0.063 | 0.061 | 0.064 | 0.061 | 0.064 | 0.061 | 0.065 | 0.063 | 593.3 | 9 | 1.85 | B
H | 0.062 | 0.063 | 0.062 | 0.062 | 0.062 | 0.061 | 0.06 | 0.064 | 0.06 | 0.06 | 0.063 | 0.063 | 593.3 | 10 | 0.859 | B
| 593.3 593.3: 593.3; 1 2: 11; 0.523 0.446: 1.295 | B
3 OPERATION | 1: ABS (F) - Kinetics; 593.3 593.3: 593.3; 1 2: 12; 0.523 0.446: 0.527 | B
TEMPERATURE(Celsius) | 1: 27.6; 593.3 593.3: 593.3; 1 2: 1; 0.523 0.446: 0.512 | C
Cycle | 1: 4; 2: Time(s); 3: 1779.9; 593.3 593.3: 593.3; 1 2: 2; 0.523 0.446: 0.436 | C
Plate | 1: 0; 593.3 593.3: 593.3; 1 2: 3; 0.523 0.446: 0.508 | C
Barcode | 1: 0; 593.3 593.3: 593.3; 1 2: 4; 0.523 0.446: 0.58 | C
| 593.3 593.3: 593.3; 1 2: 5; 0.523 0.446: 0.661 | C
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 593.3 | 6 | 0.828 | C
A | 0.517 | 0.431 | 0.477 | 0.583 | 0.641 | 0.789 | 0.85 | 0.547 | 1.931 | 0.834 | 1.291 | 0.511 | 593.3 | 7 | 0.794 | C
B | 0.539 | 0.443 | 0.508 | 0.586 | 0.678 | 0.801 | 0.897 | 0.538 | 1.852 | 0.858 | 1.271 | 0.538 | 593.3 | 8 | 0.516 | C
C | 0.528 | 0.439 | 0.511 | 0.579 | 0.66 | 0.829 | 0.8 | 0.528 | 1.89 | 0.86 | 1.558 | 0.514 | 593.3 | 9 | 1.928 | C
D | 0.056 | 0.059 | 0.061 | 0.058 | 0.059 | 0.06 | 0.059 | 0.057 | 0.06 | 0.059 | 0.061 | 0.059 | 593.3 | 10 | 0.862 | C
E | 0.056 | 0.063 | 0.059 | 0.06 | 0.059 | 0.059 | 0.062 | 0.058 | 0.059 | 0.06 | 0.061 | 0.057 | 593.3 | 11 | 1.494 | C
F | 0.065 | 0.06 | 0.061 | 0.059 | 0.059 | 0.059 | 0.057 | 0.063 | 0.062 | 0.063 | 0.059 | 0.057 | 593.3 | 12 | 0.515 | C
G | 0.062 | 0.058 | 0.055 | 0.06 | 0.058 | 0.063 | 0.061 | 0.059 | 0.061 | 0.062 | 0.063 | 0.065 | 1186.6 | 1 | 0.511 | A
H | 0.063 | 0.061 | 0.062 | 0.061 | 0.059 | 0.063 | 0.06 | 0.06 | 0.06 | 0.062 | 0.064 | 0.06 | 1186.6 | 2 | 0.435 | A
| 593.3 593.3: 1186.6; 5 6: 3; 0.661 0.828: 0.479 | A
3 OPERATION | 1: ABS (F) - Kinetics; 593.3 593.3: 1186.6; 5 6: 4; 0.661 0.828: 0.585 | A
TEMPERATURE(Celsius) | 1: 27.6; 593.3 593.3: 1186.6; 5 6: 5; 0.661 0.828: 0.644 | A
Cycle | 1: 5; 2: Time(s); 3: 2373.3; 593.3 593.3: 1186.6; 5 6: 6; 0.661 0.828: 0.789 | A
Plate | 1: 0; 593.3 593.3: 1186.6; 5 6: 7; 0.661 0.828: 0.855 | A
Barcode | 1: 0; 593.3 593.3: 1186.6; 5 6: 8; 0.661 0.828: 0.539 | A
| 593.3 593.3: 1186.6; 5 6: 9; 0.661 0.828: 1.923 | A
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1186.6 | 10 | 0.838 | A
A | 0.523 | 0.433 | 0.481 | 0.583 | 0.642 | 0.789 | 0.848 | 0.547 | 1.936 | 0.83 | 1.267 | 0.517 | 1186.6 | 11 | 1.182 | A
B | 0.541 | 0.442 | 0.506 | 0.581 | 0.67 | 0.792 | 0.884 | 0.539 | 1.858 | 0.854 | 1.259 | 0.551 | 1186.6 | 12 | 0.503 | A
C | 0.542 | 0.448 | 0.52 | 0.575 | 0.656 | 0.828 | 0.797 | 0.531 | 1.845 | 0.852 | 1.56 | 0.536 | 1186.6 | 1 | 0.53 | B
D | 0.058 | 0.062 | 0.056 | 0.061 | 0.06 | 0.057 | 0.058 | 0.06 | 0.058 | 0.06 | 0.056 | 0.058 | 1186.6 | 2 | 0.448 | B
E | 0.056 | 0.06 | 0.056 | 0.061 | 0.062 | 0.061 | 0.062 | 0.061 | 0.059 | 0.062 | 0.062 | 0.058 | 1186.6 | 3 | 0.507 | B
F | 0.063 | 0.06 | 0.063 | 0.061 | 0.062 | 0.063 | 0.059 | 0.062 | 0.056 | 0.057 | 0.061 | 0.061 | 1186.6 | 4 | 0.585 | B
G | 0.06 | 0.058 | 0.061 | 0.061 | 0.062 | 0.061 | 0.063 | 0.063 | 0.064 | 0.061 | 0.065 | 0.059 | 1186.6 | 5 | 0.678 | B
H | 0.062 | 0.062 | 0.063 | 0.062 | 0.057 | 0.061 | 0.06 | 0.063 | 0.06 | 0.062 | 0.059 | 0.062 | 1186.6 | 6 | 0.794 | B
| 1186.6 1186.6: 1186.6; 9 10: 7; 1.923 0.838: 0.894 | B
3 OPERATION | 1: ABS (F) - Kinetics; 1186.6 1186.6: 1186.6; 9 10: 8; 1.923 0.838: 0.522 | B
TEMPERATURE(Celsius) | 1: 27.6; 1186.6 1186.6: 1186.6; 9 10: 9; 1.923 0.838: 1.905 | B
Cycle | 1: 6; 2: Time(s); 3: 2966.5; 1186.6 1186.6: 1186.6; 9 10: 10; 1.923 0.838: 0.857 | B
Plate | 1: 0; 1186.6 1186.6: 1186.6; 9 10: 11; 1.923 0.838: 1.29 | B
Barcode | 1: 0; 1186.6 1186.6: 1186.6; 9 10: 12; 1.923 0.838: 0.532 | B
| 1186.6 1186.6: 1186.6; 9 10: 1; 1.923 0.838: 0.52 | C
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1186.6 | 2 | 0.442 | C
A | 0.528 | 0.436 | 0.488 | 0.587 | 0.644 | 0.789 | 0.849 | 0.557 | 1.951 | 0.834 | 1.353 | 0.529 | 1186.6 | 3 | 0.511 | C
B | 0.551 | 0.449 | 0.513 | 0.589 | 0.68 | 0.804 | 0.895 | 0.551 | 1.837 | 0.857 | 1.286 | 0.569 | 1186.6 | 4 | 0.578 | C
C | 0.544 | 0.438 | 0.517 | 0.578 | 0.66 | 0.83 | 0.8 | 0.539 | 1.85 | 0.855 | 1.58 | 0.535 | 1186.6 | 5 | 0.661 | C
D | 0.061 | 0.059 | 0.057 | 0.064 | 0.059 | 0.059 | 0.063 | 0.06 | 0.064 | 0.061 | 0.061 | 0.061 | 1186.6 | 6 | 0.834 | C
E | 0.06 | 0.057 | 0.061 | 0.063 | 0.062 | 0.062 | 0.06 | 0.061 | 0.062 | 0.063 | 0.062 | 0.065 | 1186.6 | 7 | 0.801 | C
F | 0.066 | 0.063 | 0.062 | 0.06 | 0.06 | 0.062 | 0.061 | 0.066 | 0.065 | 0.061 | 0.058 | 0.062 | 1186.6 | 8 | 0.523 | C
G | 0.061 | 0.062 | 0.064 | 0.059 | 0.061 | 0.061 | 0.059 | 0.061 | 0.058 | 0.062 | 0.067 | 0.063 | 1186.6 | 9 | 1.909 | C
H | 0.062 | 0.064 | 0.062 | 0.062 | 0.062 | 0.058 | 0.063 | 0.064 | 0.06 | 0.059 | 0.065 | 0.063 | 1186.6 | 10 | 0.861 | C
| 1186.6 1186.6: 1186.6; 1 2: 11; 0.52 0.442: 1.537 | C
3 OPERATION | 1: ABS (F) - Kinetics; 1186.6 1186.6: 1186.6; 1 2: 12; 0.52 0.442: 0.523 | C
TEMPERATURE(Celsius) | 1: 27.6; 1186.6 1186.6: 1779.9; 1 2: 1; 0.52 0.442: 0.517 | A
Cycle | 1: 7; 2: Time(s); 3: 3559.8; 1186.6 1186.6: 1779.9; 1 2: 2; 0.52 0.442: 0.431 | A
Plate | 1: 0; 1186.6 1186.6: 1779.9; 1 2: 3; 0.52 0.442: 0.477 | A
Barcode | 1: 0; 1186.6 1186.6: 1779.9; 1 2: 4; 0.52 0.442: 0.583 | A
| 1186.6 1186.6: 1779.9; 1 2: 5; 0.52 0.442: 0.641 | A
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1779.9 | 6 | 0.789 | A
A | 0.528 | 0.435 | 0.488 | 0.581 | 0.642 | 0.785 | 0.846 | 0.559 | 1.961 | 0.829 | 1.383 | 0.528 | 1779.9 | 7 | 0.85 | A
B | 0.551 | 0.443 | 0.51 | 0.586 | 0.676 | 0.798 | 0.893 | 0.551 | 1.857 | 0.853 | 1.283 | 0.566 | 1779.9 | 8 | 0.547 | A
C | 0.545 | 0.441 | 0.512 | 0.58 | 0.653 | 0.828 | 0.795 | 0.543 | 1.837 | 0.851 | 1.587 | 0.529 | 1779.9 | 9 | 1.931 | A
D | 0.059 | 0.057 | 0.056 | 0.061 | 0.062 | 0.058 | 0.056 | 0.059 | 0.059 | 0.058 | 0.059 | 0.059 | 1779.9 | 10 | 0.834 | A
E | 0.061 | 0.059 | 0.06 | 0.06 | 0.061 | 0.059 | 0.062 | 0.06 | 0.062 | 0.06 | 0.062 | 0.058 | 1779.9 | 11 | 1.291 | A
F | 0.063 | 0.059 | 0.058 | 0.062 | 0.059 | 0.059 | 0.055 | 0.065 | 0.061 | 0.061 | 0.06 | 0.063 | 1779.9 | 12 | 0.511 | A
G | 0.062 | 0.063 | 0.057 | 0.053 | 0.053 | 0.056 | 0.055 | 0.064 | 0.057 | 0.063 | 0.065 | 0.062 | 1779.9 | 1 | 0.539 | B
H | 0.058 | 0.062 | 0.061 | 0.057 | 0.059 | 0.06 | 0.062 | 0.061 | 0.064 | 0.062 | 0.062 | 0.061 | 1779.9 | 2 | 0.443 | B
| 1779.9 1779.9: 1779.9; 5 6: 3; 0.641 0.789: 0.508 | B
3 OPERATION | 1: ABS (F) - Kinetics; 1779.9 1779.9: 1779.9; 5 6: 4; 0.641 0.789: 0.586 | B
TEMPERATURE(Celsius) | 1: 27.6; 1779.9 1779.9: 1779.9; 5 6: 5; 0.641 0.789: 0.678 | B
Cycle | 1: 8; 2: Time(s); 3: 4153.1; 1779.9 1779.9: 1779.9; 5 6: 6; 0.641 0.789: 0.801 | B
Plate | 1: 0; 1779.9 1779.9: 1779.9; 5 6: 7; 0.641 0.789: 0.897 | B
Barcode | 1: 0; 1779.9 1779.9: 1779.9; 5 6: 8; 0.641 0.789: 0.538 | B
| 1779.9 1779.9: 1779.9; 5 6: 9; 0.641 0.789: 1.852 | B
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1779.9 | 10 | 0.858 | B
A | 0.535 | 0.435 | 0.49 | 0.581 | 0.642 | 0.786 | 0.849 | 0.562 | 1.975 | 0.83 | 1.418 | 0.531 | 1779.9 | 11 | 1.271 | B
B | 0.56 | 0.449 | 0.517 | 0.587 | 0.677 | 0.801 | 0.895 | 0.556 | 1.847 | 0.851 | 1.292 | 0.561 | 1779.9 | 12 | 0.538 | B
C | 0.553 | 0.445 | 0.518 | 0.581 | 0.653 | 0.83 | 0.8 | 0.549 | 1.829 | 0.859 | 1.595 | 0.537 | 1779.9 | 1 | 0.528 | C
D | 0.058 | 0.058 | 0.061 | 0.061 | 0.058 | 0.06 | 0.061 | 0.06 | 0.061 | 0.06 | 0.061 | 0.062 | 1779.9 | 2 | 0.439 | C
E | 0.058 | 0.059 | 0.059 | 0.063 | 0.062 | 0.062 | 0.064 | 0.059 | 0.062 | 0.06 | 0.063 | 0.059 | 1779.9 | 3 | 0.511 | C
F | 0.064 | 0.059 | 0.063 | 0.064 | 0.061 | 0.061 | 0.059 | 0.062 | 0.059 | 0.06 | 0.061 | 0.061 | 1779.9 | 4 | 0.579 | C
G | 0.062 | 0.062 | 0.06 | 0.058 | 0.062 | 0.065 | 0.057 | 0.062 | 0.061 | 0.057 | 0.065 | 0.062 | 1779.9 | 5 | 0.66 | C
H | 0.063 | 0.058 | 0.061 | 0.064 | 0.064 | 0.061 | 0.059 | 0.063 | 0.06 | 0.063 | 0.06 | 0.061 | 1779.9 | 6 | 0.829 | C
| 1779.9 1779.9: 1779.9; 9 10: 7; 1.852 0.858: 0.8 | C
3 OPERATION | 1: ABS (F) - Kinetics; 1779.9 1779.9: 1779.9; 9 10: 8; 1.852 0.858: 0.528 | C
TEMPERATURE(Celsius) | 1: 27.6; 1779.9 1779.9: 1779.9; 9 10: 9; 1.852 0.858: 1.89 | C
Cycle | 1: 9; 2: Time(s); 3: 4746.4; 1779.9 1779.9: 1779.9; 9 10: 10; 1.852 0.858: 0.86 | C
Plate | 1: 0; 1779.9 1779.9: 1779.9; 9 10: 11; 1.852 0.858: 1.558 | C
Barcode | 1: 0; 1779.9 1779.9: 1779.9; 9 10: 12; 1.852 0.858: 0.514 | C
| 1779.9 1779.9: 2373.3; 9 10: 1; 1.852 0.858: 0.523 | A
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 2373.3 | 2 | 0.433 | A
A | 0.538 | 0.437 | 0.489 | 0.584 | 0.642 | 0.782 | 0.847 | 0.564 | 1.973 | 0.825 | 1.426 | 0.532 | 2373.3 | 3 | 0.481 | A
B | 0.562 | 0.448 | 0.51 | 0.587 | 0.674 | 0.795 | 0.892 | 0.562 | 1.849 | 0.848 | 1.271 | 0.565 | 2373.3 | 4 | 0.583 | A
C | 0.552 | 0.438 | 0.514 | 0.578 | 0.655 | 0.825 | 0.793 | 0.552 | 1.832 | 0.853 | 1.612 | 0.54 | 2373.3 | 5 | 0.642 | A
D | 0.055 | 0.054 | 0.057 | 0.058 | 0.06 | 0.06 | 0.057 | 0.06 | 0.058 | 0.058 | 0.057 | 0.056 | 2373.3 | 6 | 0.789 | A
E | 0.055 | 0.058 | 0.059 | 0.063 | 0.058 | 0.058 | 0.058 | 0.061 | 0.062 | 0.062 | 0.061 | 0.06 | 2373.3 | 7 | 0.848 | A
F | 0.066 | 0.059 | 0.06 | 0.06 | 0.061 | 0.059 | 0.056 | 0.062 | 0.061 | 0.064 | 0.059 | 0.063 | 2373.3 | 8 | 0.547 | A
G | 0.06 | 0.059 | 0.057 | 0.057 | 0.06 | 0.063 | 0.058 | 0.06 | 0.061 | 0.061 | 0.065 | 0.061 | 2373.3 | 9 | 1.936 | A
H | 0.062 | 0.061 | 0.06 | 0.06 | 0.063 | 0.062 | 0.062 | 0.06 | 0.062 | 0.062 | 0.061 | 0.062 | 2373.3 | 10 | 0.83 | A
| 2373.3 2373.3: 2373.3; 1 2: 11; 0.523 0.433: 1.267 | A
3 OPERATION | 1: ABS (F) - Kinetics; 2373.3 2373.3: 2373.3; 1 2: 12; 0.523 0.433: 0.517 | A
TEMPERATURE(Celsius) | 1: 27.6; 2373.3 2373.3: 2373.3; 1 2: 1; 0.523 0.433: 0.541 | B
Cycle | 1: 10; 2: Time(s); 3: 5339.6; 2373.3 2373.3: 2373.3; 1 2: 2; 0.523 0.433: 0.442 | B
Plate | 1: 0; 2373.3 2373.3: 2373.3; 1 2: 3; 0.523 0.433: 0.506 | B
Barcode | 1: 0; 2373.3 2373.3: 2373.3; 1 2: 4; 0.523 0.433: 0.581 | B
| 2373.3 2373.3: 2373.3; 1 2: 5; 0.523 0.433: 0.67 | B
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 2373.3 | 6 | 0.792 | B
A | 0.541 | 0.442 | 0.493 | 0.584 | 0.641 | 0.781 | 0.844 | 0.568 | 1.964 | 0.829 | 1.429 | 0.538 | 2373.3 | 7 | 0.884 | B
B | 0.564 | 0.448 | 0.517 | 0.587 | 0.677 | 0.799 | 0.888 | 0.566 | 1.838 | 0.85 | 1.285 | 0.567 | 2373.3 | 8 | 0.539 | B
C | 0.557 | 0.442 | 0.516 | 0.576 | 0.653 | 0.827 | 0.799 | 0.557 | 1.835 | 0.856 | 1.601 | 0.547 | 2373.3 | 9 | 1.858 | B
D | 0.058 | 0.059 | 0.06 | 0.06 | 0.062 | 0.057 | 0.059 | 0.058 | 0.062 | 0.059 | 0.058 | 0.057 | 2373.3 | 10 | 0.854 | B
E | 0.057 | 0.061 | 0.058 | 0.063 | 0.06 | 0.059 | 0.063 | 0.061 | 0.062 | 0.062 | 0.062 | 0.062 | 2373.3 | 11 | 1.259 | B
F | 0.066 | 0.061 | 0.062 | 0.065 | 0.063 | 0.063 | 0.059 | 0.062 | 0.059 | 0.063 | 0.064 | 0.062 | 2373.3 | 12 | 0.551 | B
G | 0.063 | 0.063 | 0.056 | 0.061 | 0.061 | 0.06 | 0.058 | 0.062 | 0.06 | 0.064 | 0.062 | 0.06 | 2373.3 | 1 | 0.542 | C
H | 0.061 | 0.063 | 0.061 | 0.062 | 0.063 | 0.061 | 0.06 | 0.061 | 0.061 | 0.063 | 0.063 | 0.064 | 2373.3 | 2 | 0.448 | C
| 2373.3 2373.3: 2373.3; 5 6: 3; 0.67 0.792: 0.52 | C
3 OPERATION | 1: ABS (F) - Kinetics; 2373.3 2373.3: 2373.3; 5 6: 4; 0.67 0.792: 0.575 | C
TEMPERATURE(Celsius) | 1: 27.6; 2373.3 2373.3: 2373.3; 5 6: 5; 0.67 0.792: 0.656 | C
Cycle | 1: 11; 2: Time(s); 3: 5932.9; 2373.3 2373.3: 2373.3; 5 6: 6; 0.67 0.792: 0.828 | C
Plate | 1: 0; 2373.3 2373.3: 2373.3; 5 6: 7; 0.67 0.792: 0.797 | C
Barcode | 1: 0; 2373.3 2373.3: 2373.3; 5 6: 8; 0.67 0.792: 0.531 | C
| 2373.3 2373.3: 2373.3; 5 6: 9; 0.67 0.792: 1.845 | C
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 2373.3 | 10 | 0.852 | C
A | 0.545 | 0.439 | 0.493 | 0.582 | 0.642 | 0.783 | 0.843 | 0.576 | 1.969 | 0.825 | 1.436 | 0.541 | 2373.3 | 11 | 1.56 | C
B | 0.573 | 0.448 | 0.518 | 0.586 | 0.677 | 0.802 | 0.893 | 0.567 | 1.838 | 0.851 | 1.291 | 0.581 | 2373.3 | 12 | 0.536 | C
C | 0.565 | 0.444 | 0.52 | 0.582 | 0.653 | 0.827 | 0.795 | 0.557 | 1.83 | 0.851 | 1.601 | 0.547 | 2966.5 | 1 | 0.528 | A
D | 0.057 | 0.055 | 0.06 | 0.06 | 0.058 | 0.058 | 0.055 | 0.057 | 0.055 | 0.06 | 0.056 | 0.053 | 2966.5 | 2 | 0.436 | A
E | 0.057 | 0.059 | 0.06 | 0.06 | 0.056 | 0.056 | 0.059 | 0.06 | 0.059 | 0.06 | 0.06 | 0.059 | 2966.5 | 3 | 0.488 | A
F | 0.064 | 0.061 | 0.061 | 0.06 | 0.059 | 0.059 | 0.06 | 0.062 | 0.058 | 0.062 | 0.059 | 0.061 | 2966.5 | 4 | 0.587 | A
G | 0.06 | 0.059 | 0.059 | 0.063 | 0.058 | 0.056 | 0.061 | 0.059 | 0.06 | 0.057 | 0.058 | 0.062 | 2966.5 | 5 | 0.644 | A
H | 0.058 | 0.058 | 0.059 | 0.058 | 0.058 | 0.056 | 0.057 | 0.059 | 0.058 | 0.06 | 0.063 | 0.06 | 2966.5 | 6 | 0.789 | A
| 2373.3 2373.3: 2966.5; 9 10: 7; 1.845 0.852: 0.849 | A
3 OPERATION | 1: ABS (F) - Kinetics; 2373.3 2373.3: 2966.5; 9 10: 8; 1.845 0.852: 0.557 | A
TEMPERATURE(Celsius) | 1: 27.6; 2373.3 2373.3: 2966.5; 9 10: 9; 1.845 0.852: 1.951 | A
Cycle | 1: 12; 2: Time(s); 3: 6526.1; 2373.3 2373.3: 2966.5; 9 10: 10; 1.845 0.852: 0.834 | A
Plate | 1: 0; 2373.3 2373.3: 2966.5; 9 10: 11; 1.845 0.852: 1.353 | A
Barcode | 1: 0; 2373.3 2373.3: 2966.5; 9 10: 12; 1.845 0.852: 0.529 | A
| 2373.3 2373.3: 2966.5; 9 10: 1; 1.845 0.852: 0.551 | B
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 2966.5 | 2 | 0.449 | B
A | 0.55 | 0.437 | 0.5 | 0.586 | 0.643 | 0.783 | 0.84 | 0.571 | 1.962 | 0.825 | 1.385 | 0.544 | 2966.5 | 3 | 0.513 | B
B | 0.574 | 0.454 | 0.519 | 0.587 | 0.678 | 0.799 | 0.887 | 0.567 | 1.846 | 0.848 | 1.253 | 0.574 | 2966.5 | 4 | 0.589 | B
C | 0.567 | 0.447 | 0.523 | 0.582 | 0.656 | 0.83 | 0.801 | 0.561 | 1.833 | 0.853 | 1.602 | 0.553 | 2966.5 | 5 | 0.68 | B
D | 0.06 | 0.064 | 0.055 | 0.055 | 0.059 | 0.057 | 0.062 | 0.06 | 0.06 | 0.062 | 0.061 | 0.06 | 2966.5 | 6 | 0.804 | B
E | 0.063 | 0.067 | 0.061 | 0.06 | 0.061 | 0.062 | 0.064 | 0.061 | 0.06 | 0.058 | 0.061 | 0.06 | 2966.5 | 7 | 0.895 | B
F | 0.066 | 0.061 | 0.063 | 0.061 | 0.061 | 0.06 | 0.06 | 0.065 | 0.06 | 0.066 | 0.06 | 0.059 | 2966.5 | 8 | 0.551 | B
G | 0.06 | 0.062 | 0.062 | 0.064 | 0.062 | 0.06 | 0.06 | 0.061 | 0.063 | 0.062 | 0.063 | 0.066 | 2966.5 | 9 | 1.837 | B
H | 0.063 | 0.06 | 0.058 | 0.06 | 0.058 | 0.06 | 0.06 | 0.064 | 0.064 | 0.063 | 0.062 | 0.063 | 2966.5 | 10 | 0.857 | B
| 2966.5 2966.5: 2966.5; 1 2: 11; 0.551 0.449: 1.286 | B
3 OPERATION | 1: ABS (F) - Kinetics; 2966.5 2966.5: 2966.5; 1 2: 12; 0.551 0.449: 0.569 | B
TEMPERATURE(Celsius) | 1: 27.6; 2966.5 2966.5: 2966.5; 1 2: 1; 0.551 0.449: 0.544 | C
Cycle | 1: 13; 2: Time(s); 3: 7119.4; 2966.5 2966.5: 2966.5; 1 2: 2; 0.551 0.449: 0.438 | C
Plate | 1: 0; 2966.5 2966.5: 2966.5; 1 2: 3; 0.551 0.449: 0.517 | C
Barcode | 1: 0; 2966.5 2966.5: 2966.5; 1 2: 4; 0.551 0.449: 0.578 | C
| 2966.5 2966.5: 2966.5; 1 2: 5; 0.551 0.449: 0.66 | C
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 2966.5 | 6 | 0.83 | C
A | 0.553 | 0.44 | 0.499 | 0.586 | 0.641 | 0.781 | 0.844 | 0.58 | 1.975 | 0.825 | 1.336 | 0.555 | 2966.5 | 7 | 0.8 | C
B | 0.576 | 0.447 | 0.521 | 0.588 | 0.68 | 0.801 | 0.885 | 0.568 | 1.86 | 0.854 | 1.255 | 0.585 | 2966.5 | 8 | 0.539 | C
C | 0.569 | 0.446 | 0.52 | 0.584 | 0.656 | 0.823 | 0.796 | 0.561 | 1.823 | 0.851 | 1.609 | 0.55 | 2966.5 | 9 | 1.85 | C
D | 0.06 | 0.056 | 0.058 | 0.066 | 0.054 | 0.055 | 0.061 | 0.057 | 0.059 | 0.059 | 0.06 | 0.059 | 2966.5 | 10 | 0.855 | C
E | 0.06 | 0.051 | 0.058 | 0.061 | 0.06 | 0.065 | 0.058 | 0.061 | 0.059 | 0.057 | 0.064 | 0.057 | 2966.5 | 11 | 1.58 | C
F | 0.062 | 0.061 | 0.067 | 0.062 | 0.06 | 0.063 | 0.06 | 0.063 | 0.062 | 0.061 | 0.06 | 0.057 | 2966.5 | 12 | 0.535 | C
G | 0.056 | 0.057 | 0.063 | 0.057 | 0.06 | 0.064 | 0.062 | 0.059 | 0.062 | 0.064 | 0.071 | 0.06 | 3559.8 | 1 | 0.528 | A
H | 0.06 | 0.065 | 0.054 | 0.057 | 0.059 | 0.058 | 0.059 | 0.054 | 0.055 | 0.061 | 0.058 | 0.057 | 3559.8 | 2 | 0.435 | A
| 2966.5 2966.5: 3559.8; 5 6: 3; 0.66 0.83: 0.488 | A
3 OPERATION | 1: ABS (F) - Kinetics; 2966.5 2966.5: 3559.8; 5 6: 4; 0.66 0.83: 0.581 | A
TEMPERATURE(Celsius) | 1: 27.6; 2966.5 2966.5: 3559.8; 5 6: 5; 0.66 0.83: 0.642 | A
Cycle | 1: 14; 2: Time(s); 3: 7712.6; 2966.5 2966.5: 3559.8; 5 6: 6; 0.66 0.83: 0.785 | A
Plate | 1: 0; 2966.5 2966.5: 3559.8; 5 6: 7; 0.66 0.83: 0.846 | A
Barcode | 1: 0; 2966.5 2966.5: 3559.8; 5 6: 8; 0.66 0.83: 0.559 | A
| 2966.5 2966.5: 3559.8; 5 6: 9; 0.66 0.83: 1.961 | A
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 3559.8 | 10 | 0.829 | A
A | 0.554 | 0.443 | 0.503 | 0.584 | 0.644 | 0.784 | 0.842 | 0.582 | 1.974 | 0.822 | 1.287 | 0.558 | 3559.8 | 11 | 1.383 | A
B | 0.583 | 0.454 | 0.525 | 0.591 | 0.681 | 0.801 | 0.889 | 0.578 | 1.875 | 0.853 | 1.276 | 0.595 | 3559.8 | 12 | 0.528 | A
C | 0.577 | 0.45 | 0.532 | 0.588 | 0.659 | 0.829 | 0.806 | 0.566 | 1.823 | 0.853 | 1.614 | 0.56 | 3559.8 | 1 | 0.551 | B
D | 0.057 | 0.056 | 0.054 | 0.059 | 0.056 | 0.055 | 0.06 | 0.057 | 0.057 | 0.057 | 0.062 | 0.065 | 3559.8 | 2 | 0.443 | B
E | 0.06 | 0.058 | 0.062 | 0.061 | 0.064 | 0.059 | 0.062 | 0.06 | 0.057 | 0.058 | 0.054 | 0.06 | 3559.8 | 3 | 0.51 | B
F | 0.067 | 0.061 | 0.055 | 0.06 | 0.058 | 0.061 | 0.056 | 0.062 | 0.064 | 0.058 | 0.057 | 0.054 | 3559.8 | 4 | 0.586 | B
G | 0.06 | 0.06 | 0.059 | 0.062 | 0.057 | 0.06 | 0.057 | 0.062 | 0.064 | 0.06 | 0.062 | 0.059 | 3559.8 | 5 | 0.676 | B
H | 0.07 | 0.065 | 0.058 | 0.061 | 0.063 | 0.06 | 0.06 | 0.057 | 0.059 | 0.06 | 0.058 | 0.06 | 3559.8 | 6 | 0.798 | B
| 3559.8 3559.8: 3559.8; 9 10: 7; 1.961 0.829: 0.893 | B
3 OPERATION | 1: ABS (F) - Kinetics; 3559.8 3559.8: 3559.8; 9 10: 8; 1.961 0.829: 0.551 | B
TEMPERATURE(Celsius) | 1: 27.6; 3559.8 3559.8: 3559.8; 9 10: 9; 1.961 0.829: 1.857 | B
Cycle | 1: 15; 2: Time(s); 3: 8305.9; 3559.8 3559.8: 3559.8; 9 10: 10; 1.961 0.829: 0.853 | B
Plate | 1: 0; 3559.8 3559.8: 3559.8; 9 10: 11; 1.961 0.829: 1.283 | B
Barcode | 1: 0; 3559.8 3559.8: 3559.8; 9 10: 12; 1.961 0.829: 0.566 | B
| 3559.8 3559.8: 3559.8; 9 10: 1; 1.961 0.829: 0.545 | C
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 3559.8 | 2 | 0.441 | C
A | 0.556 | 0.442 | 0.501 | 0.588 | 0.642 | 0.784 | 0.842 | 0.587 | 1.977 | 0.823 | 1.224 | 0.552 | 3559.8 | 3 | 0.512 | C
B | 0.585 | 0.452 | 0.524 | 0.593 | 0.679 | 0.802 | 0.888 | 0.579 | 1.851 | 0.849 | 1.284 | 0.594 | 3559.8 | 4 | 0.58 | C
C | 0.578 | 0.448 | 0.526 | 0.587 | 0.659 | 0.831 | 0.797 | 0.57 | 1.824 | 0.853 | 1.625 | 0.562 | 3559.8 | 5 | 0.653 | C
D | 0.063 | 0.058 | 0.06 | 0.055 | 0.06 | 0.06 | 0.062 | 0.059 | 0.063 | 0.062 | 0.06 | 0.057 | 3559.8 | 6 | 0.828 | C
E | 0.063 | 0.062 | 0.062 | 0.064 | 0.06 | 0.059 | 0.059 | 0.062 | 0.064 | 0.061 | 0.061 | 0.064 | 3559.8 | 7 | 0.795 | C
F | 0.068 | 0.06 | 0.061 | 0.062 | 0.06 | 0.064 | 0.06 | 0.064 | 0.061 | 0.064 | 0.061 | 0.065 | 3559.8 | 8 | 0.543 | C
G | 0.061 | 0.062 | 0.062 | 0.064 | 0.063 | 0.064 | 0.063 | 0.062 | 0.059 | 0.06 | 0.067 | 0.063 | 3559.8 | 9 | 1.837 | C
H | 0.062 | 0.061 | 0.058 | 0.062 | 0.059 | 0.058 | 0.061 | 0.062 | 0.063 | 0.066 | 0.06 | 0.062 | 3559.8 | 10 | 0.851 | C
| 3559.8 3559.8: 3559.8; 1 2: 11; 0.545 0.441: 1.587 | C
3 OPERATION | 1: ABS (F) - Kinetics; 3559.8 3559.8: 3559.8; 1 2: 12; 0.545 0.441: 0.529 | C
TEMPERATURE(Celsius) | 1: 27.6; 3559.8 3559.8: 4153.1; 1 2: 1; 0.545 0.441: 0.535 | A
Cycle | 1: 16; 2: Time(s); 3: 8899.1; 3559.8 3559.8: 4153.1; 1 2: 2; 0.545 0.441: 0.435 | A
Plate | 1: 0; 3559.8 3559.8: 4153.1; 1 2: 3; 0.545 0.441: 0.49 | A
Barcode | 1: 0; 3559.8 3559.8: 4153.1; 1 2: 4; 0.545 0.441: 0.581 | A
| 3559.8 3559.8: 4153.1; 1 2: 5; 0.545 0.441: 0.642 | A
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 4153.1 | 6 | 0.786 | A
A | 0.56 | 0.444 | 0.505 | 0.588 | 0.645 | 0.782 | 0.841 | 0.593 | 1.977 | 0.826 | 1.178 | 0.554 | 4153.1 | 7 | 0.849 | A
B | 0.584 | 0.457 | 0.526 | 0.593 | 0.677 | 0.801 | 0.886 | 0.58 | 1.869 | 0.851 | 1.315 | 0.595 | 4153.1 | 8 | 0.562 | A
C | 0.586 | 0.448 | 0.525 | 0.586 | 0.658 | 0.831 | 0.798 | 0.573 | 1.821 | 0.851 | 1.624 | 0.56 | 4153.1 | 9 | 1.975 | A
D | 0.06 | 0.061 | 0.058 | 0.06 | 0.061 | 0.061 | 0.058 | 0.06 | 0.058 | 0.062 | 0.06 | 0.06 | 4153.1 | 10 | 0.83 | A
E | 0.056 | 0.06 | 0.062 | 0.055 | 0.058 | 0.061 | 0.057 | 0.059 | 0.062 | 0.061 | 0.059 | 0.058 | 4153.1 | 11 | 1.418 | A
F | 0.065 | 0.059 | 0.061 | 0.061 | 0.057 | 0.059 | 0.059 | 0.057 | 0.057 | 0.061 | 0.059 | 0.056 | 4153.1 | 12 | 0.531 | A
G | 0.057 | 0.057 | 0.06 | 0.062 | 0.059 | 0.059 | 0.062 | 0.061 | 0.062 | 0.059 | 0.061 | 0.062 | 4153.1 | 1 | 0.56 | B
H | 0.062 | 0.061 | 0.059 | 0.059 | 0.06 | 0.06 | 0.056 | 0.063 | 0.059 | 0.059 | 0.062 | 0.059 | 4153.1 | 2 | 0.449 | B
| 4153.1 4153.1: 4153.1; 5 6: 3; 0.642 0.786: 0.517 | B
3 OPERATION | 1: ABS (F) - Kinetics; 4153.1 4153.1: 4153.1; 5 6: 4; 0.642 0.786: 0.587 | B
TEMPERATURE(Celsius) | 1: 27.6; 4153.1 4153.1: 4153.1; 5 6: 5; 0.642 0.786: 0.677 | B
Cycle | 1: 17; 2: Time(s); 3: 9492.3; 4153.1 4153.1: 4153.1; 5 6: 6; 0.642 0.786: 0.801 | B
Plate | 1: 0; 4153.1 4153.1: 4153.1; 5 6: 7; 0.642 0.786: 0.895 | B
Barcode | 1: 0; 4153.1 4153.1: 4153.1; 5 6: 8; 0.642 0.786: 0.556 | B
| 4153.1 4153.1: 4153.1; 5 6: 9; 0.642 0.786: 1.847 | B
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 4153.1 | 10 | 0.851 | B
A | 0.562 | 0.444 | 0.504 | 0.589 | 0.644 | 0.781 | 0.84 | 0.589 | 1.975 | 0.819 | 1.152 | 0.556 | 4153.1 | 11 | 1.292 | B
B | 0.588 | 0.452 | 0.525 | 0.589 | 0.677 | 0.8 | 0.882 | 0.581 | 1.862 | 0.846 | 1.318 | 0.591 | 4153.1 | 12 | 0.561 | B
C | 0.579 | 0.447 | 0.527 | 0.584 | 0.656 | 0.823 | 0.796 | 0.574 | 1.819 | 0.849 | 1.64 | 0.564 | 4153.1 | 1 | 0.553 | C
D | 0.057 | 0.056 | 0.054 | 0.058 | 0.059 | 0.062 | 0.058 | 0.06 | 0.056 | 0.06 | 0.057 | 0.056 | 4153.1 | 2 | 0.445 | C
E | 0.058 | 0.061 | 0.061 | 0.055 | 0.057 | 0.059 | 0.058 | 0.058 | 0.056 | 0.058 | 0.056 | 0.055 | 4153.1 | 3 | 0.518 | C
F | 0.062 | 0.06 | 0.061 | 0.059 | 0.061 | 0.055 | 0.061 | 0.062 | 0.059 | 0.059 | 0.06 | 0.056 | 4153.1 | 4 | 0.581 | C
G | 0.057 | 0.06 | 0.057 | 0.059 | 0.056 | 0.058 | 0.059 | 0.059 | 0.063 | 0.06 | 0.063 | 0.06 | 4153.1 | 5 | 0.653 | C
H | 0.061 | 0.058 | 0.058 | 0.055 | 0.061 | 0.06 | 0.061 | 0.062 | 0.057 | 0.059 | 0.06 | 0.058 | 4153.1 | 6 | 0.83 | C
| 4153.1 4153.1: 4153.1; 9 10: 7; 1.847 0.851: 0.8 | C
3 OPERATION | 1: ABS (F) - Kinetics; 4153.1 4153.1: 4153.1; 9 10: 8; 1.847 0.851: 0.549 | C
TEMPERATURE(Celsius) | 1: 27.6; 4153.1 4153.1: 4153.1; 9 10: 9; 1.847 0.851: 1.829 | C
Cycle | 1: 18; 2: Time(s); 3: 10085.5; 4153.1 4153.1: 4153.1; 9 10: 10; 1.847 0.851: 0.859 | C
Plate | 1: 0; 4153.1 4153.1: 4153.1; 9 10: 11; 1.847 0.851: 1.595 | C
Barcode | 1: 0; 4153.1 4153.1: 4153.1; 9 10: 12; 1.847 0.851: 0.537 | C
| 4153.1 4153.1: 4746.4; 9 10: 1; 1.847 0.851: 0.538 | A
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 4746.4 | 2 | 0.437 | A
A | 0.562 | 0.441 | 0.504 | 0.588 | 0.643 | 0.779 | 0.839 | 0.593 | 1.977 | 0.825 | 1.151 | 0.564 | 4746.4 | 3 | 0.489 | A
B | 0.592 | 0.456 | 0.529 | 0.59 | 0.679 | 0.802 | 0.887 | 0.587 | 1.87 | 0.848 | 1.297 | 0.594 | 4746.4 | 4 | 0.584 | A
C | 0.589 | 0.45 | 0.53 | 0.589 | 0.658 | 0.829 | 0.799 | 0.579 | 1.824 | 0.856 | 1.652 | 0.567 | 4746.4 | 5 | 0.642 | A
D | 0.062 | 0.066 | 0.061 | 0.06 | 0.065 | 0.061 | 0.061 | 0.061 | 0.062 | 0.061 | 0.061 | 0.06 | 4746.4 | 6 | 0.782 | A
E | 0.057 | 0.063 | 0.063 | 0.062 | 0.06 | 0.063 | 0.061 | 0.063 | 0.062 | 0.062 | 0.064 | 0.06 | 4746.4 | 7 | 0.847 | A
F | 0.071 | 0.058 | 0.066 | 0.063 | 0.063 | 0.058 | 0.061 | 0.063 | 0.062 | 0.063 | 0.062 | 0.062 | 4746.4 | 8 | 0.564 | A
G | 0.061 | 0.06 | 0.06 | 0.061 | 0.06 | 0.062 | 0.059 | 0.062 | 0.063 | 0.061 | 0.067 | 0.061 | 4746.4 | 9 | 1.973 | A
H | 0.062 | 0.062 | 0.06 | 0.065 | 0.06 | 0.057 | 0.063 | 0.064 | 0.062 | 0.063 | 0.062 | 0.061 | 4746.4 | 10 | 0.825 | A
| 4746.4 4746.4: 4746.4; 1 2: 11; 0.538 0.437: 1.426 | A
| 4746.4 4746.4: 4746.4; 1 2: 12; 0.538 0.437: 0.532 | A
| 4746.4 4746.4: 4746.4; 1 2: 1; 0.538 0.437: 0.562 | B
| 4746.4 4746.4: 4746.4; 1 2: 2; 0.538 0.437: 0.448 | B
| 4746.4 4746.4: 4746.4; 1 2: 3; 0.538 0.437: 0.51 | B
| 4746.4 4746.4: 4746.4; 1 2: 4; 0.538 0.437: 0.587 | B
| 4746.4 4746.4: 4746.4; 1 2: 5; 0.538 0.437: 0.674 | B
| 4746.4 4746.4: 4746.4; 1 2: 6; 0.538 0.437: 0.795 | B
| 4746.4 4746.4: 4746.4; 1 2: 7; 0.538 0.437: 0.892 | B
| 4746.4 4746.4: 4746.4; 1 2: 8; 0.538 0.437: 0.562 | B
| 4746.4 4746.4: 4746.4; 1 2: 9; 0.538 0.437: 1.849 | B
| 4746.4 4746.4: 4746.4; 1 2: 10; 0.538 0.437: 0.848 | B
| 4746.4 4746.4: 4746.4; 1 2: 11; 0.538 0.437: 1.271 | B
| 4746.4 4746.4: 4746.4; 1 2: 12; 0.538 0.437: 0.565 | B
| 4746.4 4746.4: 4746.4; 1 2: 1; 0.538 0.437: 0.552 | C
| 4746.4 4746.4: 4746.4; 1 2: 2; 0.538 0.437: 0.438 | C
| 4746.4 4746.4: 4746.4; 1 2: 3; 0.538 0.437: 0.514 | C
| 4746.4 4746.4: 4746.4; 1 2: 4; 0.538 0.437: 0.578 | C
| 4746.4 4746.4: 4746.4; 1 2: 5; 0.538 0.437: 0.655 | C
| 4746.4 4746.4: 4746.4; 1 2: 6; 0.538 0.437: 0.825 | C
| 4746.4 4746.4: 4746.4; 1 2: 7; 0.538 0.437: 0.793 | C
| 4746.4 4746.4: 4746.4; 1 2: 8; 0.538 0.437: 0.552 | C
| 4746.4 4746.4: 4746.4; 1 2: 9; 0.538 0.437: 1.832 | C
| 4746.4 4746.4: 4746.4; 1 2: 10; 0.538 0.437: 0.853 | C
| 4746.4 4746.4: 4746.4; 1 2: 11; 0.538 0.437: 1.612 | C
| 4746.4 4746.4: 4746.4; 1 2: 12; 0.538 0.437: 0.54 | C
| 4746.4 4746.4: 5339.6; 1 2: 1; 0.538 0.437: 0.541 | A
| 4746.4 4746.4: 5339.6; 1 2: 2; 0.538 0.437: 0.442 | A
| 4746.4 4746.4: 5339.6; 1 2: 3; 0.538 0.437: 0.493 | A
| 4746.4 4746.4: 5339.6; 1 2: 4; 0.538 0.437: 0.584 | A
| 4746.4 4746.4: 5339.6; 1 2: 5; 0.538 0.437: 0.641 | A
| 4746.4 4746.4: 5339.6; 1 2: 6; 0.538 0.437: 0.781 | A
| 4746.4 4746.4: 5339.6; 1 2: 7; 0.538 0.437: 0.844 | A
| 4746.4 4746.4: 5339.6; 1 2: 8; 0.538 0.437: 0.568 | A
| 4746.4 4746.4: 5339.6; 1 2: 9; 0.538 0.437: 1.964 | A
| 4746.4 4746.4: 5339.6; 1 2: 10; 0.538 0.437: 0.829 | A
| 4746.4 4746.4: 5339.6; 1 2: 11; 0.538 0.437: 1.429 | A
| 4746.4 4746.4: 5339.6; 1 2: 12; 0.538 0.437: 0.538 | A
| 4746.4 4746.4: 5339.6; 1 2: 1; 0.538 0.437: 0.564 | B
| 4746.4 4746.4: 5339.6; 1 2: 2; 0.538 0.437: 0.448 | B
| 4746.4 4746.4: 5339.6; 1 2: 3; 0.538 0.437: 0.517 | B
| 4746.4 4746.4: 5339.6; 1 2: 4; 0.538 0.437: 0.587 | B
| 4746.4 4746.4: 5339.6; 1 2: 5; 0.538 0.437: 0.677 | B
| 4746.4 4746.4: 5339.6; 1 2: 6; 0.538 0.437: 0.799 | B
| 4746.4 4746.4: 5339.6; 1 2: 7; 0.538 0.437: 0.888 | B
| 4746.4 4746.4: 5339.6; 1 2: 8; 0.538 0.437: 0.566 | B
| 4746.4 4746.4: 5339.6; 1 2: 9; 0.538 0.437: 1.838 | B
| 4746.4 4746.4: 5339.6; 1 2: 10; 0.538 0.437: 0.85 | B
| 4746.4 4746.4: 5339.6; 1 2: 11; 0.538 0.437: 1.285 | B
| 4746.4 4746.4: 5339.6; 1 2: 12; 0.538 0.437: 0.567 | B
| 4746.4 4746.4: 5339.6; 1 2: 1; 0.538 0.437: 0.557 | C
| 4746.4 4746.4: 5339.6; 1 2: 2; 0.538 0.437: 0.442 | C
| 4746.4 4746.4: 5339.6; 1 2: 3; 0.538 0.437: 0.516 | C
| 4746.4 4746.4: 5339.6; 1 2: 4; 0.538 0.437: 0.576 | C
| 4746.4 4746.4: 5339.6; 1 2: 5; 0.538 0.437: 0.653 | C
| 4746.4 4746.4: 5339.6; 1 2: 6; 0.538 0.437: 0.827 | C
| 4746.4 4746.4: 5339.6; 1 2: 7; 0.538 0.437: 0.799 | C
| 4746.4 4746.4: 5339.6; 1 2: 8; 0.538 0.437: 0.557 | C
| 4746.4 4746.4: 5339.6; 1 2: 9; 0.538 0.437: 1.835 | C
| 4746.4 4746.4: 5339.6; 1 2: 10; 0.538 0.437: 0.856 | C
| 4746.4 4746.4: 5339.6; 1 2: 11; 0.538 0.437: 1.601 | C
| 4746.4 4746.4: 5339.6; 1 2: 12; 0.538 0.437: 0.547 | C
| 4746.4 4746.4: 5932.9; 1 2: 1; 0.538 0.437: 0.545 | A
| 4746.4 4746.4: 5932.9; 1 2: 2; 0.538 0.437: 0.439 | A
| 4746.4 4746.4: 5932.9; 1 2: 3; 0.538 0.437: 0.493 | A
| 4746.4 4746.4: 5932.9; 1 2: 4; 0.538 0.437: 0.582 | A
| 4746.4 4746.4: 5932.9; 1 2: 5; 0.538 0.437: 0.642 | A
| 4746.4 4746.4: 5932.9; 1 2: 6; 0.538 0.437: 0.783 | A
| 4746.4 4746.4: 5932.9; 1 2: 7; 0.538 0.437: 0.843 | A
| 4746.4 4746.4: 5932.9; 1 2: 8; 0.538 0.437: 0.576 | A
| 4746.4 4746.4: 5932.9; 1 2: 9; 0.538 0.437: 1.969 | A
| 4746.4 4746.4: 5932.9; 1 2: 10; 0.538 0.437: 0.825 | A
| 4746.4 4746.4: 5932.9; 1 2: 11; 0.538 0.437: 1.436 | A
| 4746.4 4746.4: 5932.9; 1 2: 12; 0.538 0.437: 0.541 | A
| 4746.4 4746.4: 5932.9; 1 2: 1; 0.538 0.437: 0.573 | B
| 4746.4 4746.4: 5932.9; 1 2: 2; 0.538 0.437: 0.448 | B
| 4746.4 4746.4: 5932.9; 1 2: 3; 0.538 0.437: 0.518 | B
| 4746.4 4746.4: 5932.9; 1 2: 4; 0.538 0.437: 0.586 | B
| 4746.4 4746.4: 5932.9; 1 2: 5; 0.538 0.437: 0.677 | B
| 4746.4 4746.4: 5932.9; 1 2: 6; 0.538 0.437: 0.802 | B
| 4746.4 4746.4: 5932.9; 1 2: 7; 0.538 0.437: 0.893 | B
| 4746.4 4746.4: 5932.9; 1 2: 8; 0.538 0.437: 0.567 | B
| 4746.4 4746.4: 5932.9; 1 2: 9; 0.538 0.437: 1.838 | B
| 4746.4 4746.4: 5932.9; 1 2: 10; 0.538 0.437: 0.851 | B
| 4746.4 4746.4: 5932.9; 1 2: 11; 0.538 0.437: 1.291 | B
| 4746.4 4746.4: 5932.9; 1 2: 12; 0.538 0.437: 0.581 | B
| 4746.4 4746.4: 5932.9; 1 2: 1; 0.538 0.437: 0.565 | C
| 4746.4 4746.4: 5932.9; 1 2: 2; 0.538 0.437: 0.444 | C
| 4746.4 4746.4: 5932.9; 1 2: 3; 0.538 0.437: 0.52 | C
| 4746.4 4746.4: 5932.9; 1 2: 4; 0.538 0.437: 0.582 | C
| 4746.4 4746.4: 5932.9; 1 2: 5; 0.538 0.437: 0.653 | C
| 4746.4 4746.4: 5932.9; 1 2: 6; 0.538 0.437: 0.827 | C
| 4746.4 4746.4: 5932.9; 1 2: 7; 0.538 0.437: 0.795 | C
| 4746.4 4746.4: 5932.9; 1 2: 8; 0.538 0.437: 0.557 | C
| 4746.4 4746.4: 5932.9; 1 2: 9; 0.538 0.437: 1.83 | C
| 4746.4 4746.4: 5932.9; 1 2: 10; 0.538 0.437: 0.851 | C
| 4746.4 4746.4: 5932.9; 1 2: 11; 0.538 0.437: 1.601 | C
| 4746.4 4746.4: 5932.9; 1 2: 12; 0.538 0.437: 0.547 | C
| 4746.4 4746.4: 6526.1; 1 2: 1; 0.538 0.437: 0.55 | A
| 4746.4 4746.4: 6526.1; 1 2: 2; 0.538 0.437: 0.437 | A
| 4746.4 4746.4: 6526.1; 1 2: 3; 0.538 0.437: 0.5 | A
| 4746.4 4746.4: 6526.1; 1 2: 4; 0.538 0.437: 0.586 | A
| 4746.4 4746.4: 6526.1; 1 2: 5; 0.538 0.437: 0.643 | A
| 4746.4 4746.4: 6526.1; 1 2: 6; 0.538 0.437: 0.783 | A
| 4746.4 4746.4: 6526.1; 1 2: 7; 0.538 0.437: 0.84 | A
| 4746.4 4746.4: 6526.1; 1 2: 8; 0.538 0.437: 0.571 | A
| 4746.4 4746.4: 6526.1; 1 2: 9; 0.538 0.437: 1.962 | A
| 4746.4 4746.4: 6526.1; 1 2: 10; 0.538 0.437: 0.825 | A
| 4746.4 4746.4: 6526.1; 1 2: 11; 0.538 0.437: 1.385 | A
| 4746.4 4746.4: 6526.1; 1 2: 12; 0.538 0.437: 0.544 | A
| 4746.4 4746.4: 6526.1; 1 2: 1; 0.538 0.437: 0.574 | B
| 4746.4 4746.4: 6526.1; 1 2: 2; 0.538 0.437: 0.454 | B
| 4746.4 4746.4: 6526.1; 1 2: 3; 0.538 0.437: 0.519 | B
| 4746.4 4746.4: 6526.1; 1 2: 4; 0.538 0.437: 0.587 | B
| 4746.4 4746.4: 6526.1; 1 2: 5; 0.538 0.437: 0.678 | B
| 4746.4 4746.4: 6526.1; 1 2: 6; 0.538 0.437: 0.799 | B
| 4746.4 4746.4: 6526.1; 1 2: 7; 0.538 0.437: 0.887 | B
| 4746.4 4746.4: 6526.1; 1 2: 8; 0.538 0.437: 0.567 | B
| 4746.4 4746.4: 6526.1; 1 2: 9; 0.538 0.437: 1.846 | B
| 4746.4 4746.4: 6526.1; 1 2: 10; 0.538 0.437: 0.848 | B
| 4746.4 4746.4: 6526.1; 1 2: 11; 0.538 0.437: 1.253 | B
| 4746.4 4746.4: 6526.1; 1 2: 12; 0.538 0.437: 0.574 | B
| 4746.4 4746.4: 6526.1; 1 2: 1; 0.538 0.437: 0.567 | C
| 4746.4 4746.4: 6526.1; 1 2: 2; 0.538 0.437: 0.447 | C
| 4746.4 4746.4: 6526.1; 1 2: 3; 0.538 0.437: 0.523 | C
| 4746.4 4746.4: 6526.1; 1 2: 4; 0.538 0.437: 0.582 | C
| 4746.4 4746.4: 6526.1; 1 2: 5; 0.538 0.437: 0.656 | C
| 4746.4 4746.4: 6526.1; 1 2: 6; 0.538 0.437: 0.83 | C
| 4746.4 4746.4: 6526.1; 1 2: 7; 0.538 0.437: 0.801 | C
| 4746.4 4746.4: 6526.1; 1 2: 8; 0.538 0.437: 0.561 | C
| 4746.4 4746.4: 6526.1; 1 2: 9; 0.538 0.437: 1.833 | C
| 4746.4 4746.4: 6526.1; 1 2: 10; 0.538 0.437: 0.853 | C
| 4746.4 4746.4: 6526.1; 1 2: 11; 0.538 0.437: 1.602 | C
| 4746.4 4746.4: 6526.1; 1 2: 12; 0.538 0.437: 0.553 | C
| 4746.4 4746.4: 7119.4; 1 2: 1; 0.538 0.437: 0.553 | A
| 4746.4 4746.4: 7119.4; 1 2: 2; 0.538 0.437: 0.44 | A
| 4746.4 4746.4: 7119.4; 1 2: 3; 0.538 0.437: 0.499 | A
| 4746.4 4746.4: 7119.4; 1 2: 4; 0.538 0.437: 0.586 | A
| 4746.4 4746.4: 7119.4; 1 2: 5; 0.538 0.437: 0.641 | A
| 4746.4 4746.4: 7119.4; 1 2: 6; 0.538 0.437: 0.781 | A
| 4746.4 4746.4: 7119.4; 1 2: 7; 0.538 0.437: 0.844 | A
| 4746.4 4746.4: 7119.4; 1 2: 8; 0.538 0.437: 0.58 | A
| 4746.4 4746.4: 7119.4; 1 2: 9; 0.538 0.437: 1.975 | A
| 4746.4 4746.4: 7119.4; 1 2: 10; 0.538 0.437: 0.825 | A
| 4746.4 4746.4: 7119.4; 1 2: 11; 0.538 0.437: 1.336 | A
| 4746.4 4746.4: 7119.4; 1 2: 12; 0.538 0.437: 0.555 | A
| 4746.4 4746.4: 7119.4; 1 2: 1; 0.538 0.437: 0.576 | B
| 4746.4 4746.4: 7119.4; 1 2: 2; 0.538 0.437: 0.447 | B
| 4746.4 4746.4: 7119.4; 1 2: 3; 0.538 0.437: 0.521 | B
| 4746.4 4746.4: 7119.4; 1 2: 4; 0.538 0.437: 0.588 | B
| 4746.4 4746.4: 7119.4; 1 2: 5; 0.538 0.437: 0.68 | B
| 4746.4 4746.4: 7119.4; 1 2: 6; 0.538 0.437: 0.801 | B
| 4746.4 4746.4: 7119.4; 1 2: 7; 0.538 0.437: 0.885 | B
| 4746.4 4746.4: 7119.4; 1 2: 8; 0.538 0.437: 0.568 | B
| 4746.4 4746.4: 7119.4; 1 2: 9; 0.538 0.437: 1.86 | B
| 4746.4 4746.4: 7119.4; 1 2: 10; 0.538 0.437: 0.854 | B
| 4746.4 4746.4: 7119.4; 1 2: 11; 0.538 0.437: 1.255 | B
| 4746.4 4746.4: 7119.4; 1 2: 12; 0.538 0.437: 0.585 | B
| 4746.4 4746.4: 7119.4; 1 2: 1; 0.538 0.437: 0.569 | C
| 4746.4 4746.4: 7119.4; 1 2: 2; 0.538 0.437: 0.446 | C
| 4746.4 4746.4: 7119.4; 1 2: 3; 0.538 0.437: 0.52 | C
| 4746.4 4746.4: 7119.4; 1 2: 4; 0.538 0.437: 0.584 | C
| 4746.4 4746.4: 7119.4; 1 2: 5; 0.538 0.437: 0.656 | C
| 4746.4 4746.4: 7119.4; 1 2: 6; 0.538 0.437: 0.823 | C
| 4746.4 4746.4: 7119.4; 1 2: 7; 0.538 0.437: 0.796 | C
| 4746.4 4746.4: 7119.4; 1 2: 8; 0.538 0.437: 0.561 | C
| 4746.4 4746.4: 7119.4; 1 2: 9; 0.538 0.437: 1.823 | C
| 4746.4 4746.4: 7119.4; 1 2: 10; 0.538 0.437: 0.851 | C
| 4746.4 4746.4: 7119.4; 1 2: 11; 0.538 0.437: 1.609 | C
| 4746.4 4746.4: 7119.4; 1 2: 12; 0.538 0.437: 0.55 | C
| 4746.4 4746.4: 7712.6; 1 2: 1; 0.538 0.437: 0.554 | A
| 4746.4 4746.4: 7712.6; 1 2: 2; 0.538 0.437: 0.443 | A
| 4746.4 4746.4: 7712.6; 1 2: 3; 0.538 0.437: 0.503 | A
| 4746.4 4746.4: 7712.6; 1 2: 4; 0.538 0.437: 0.584 | A
| 4746.4 4746.4: 7712.6; 1 2: 5; 0.538 0.437: 0.644 | A
| 4746.4 4746.4: 7712.6; 1 2: 6; 0.538 0.437: 0.784 | A
| 4746.4 4746.4: 7712.6; 1 2: 7; 0.538 0.437: 0.842 | A
| 4746.4 4746.4: 7712.6; 1 2: 8; 0.538 0.437: 0.582 | A
| 4746.4 4746.4: 7712.6; 1 2: 9; 0.538 0.437: 1.974 | A
| 4746.4 4746.4: 7712.6; 1 2: 10; 0.538 0.437: 0.822 | A
| 4746.4 4746.4: 7712.6; 1 2: 11; 0.538 0.437: 1.287 | A
| 4746.4 4746.4: 7712.6; 1 2: 12; 0.538 0.437: 0.558 | A
| 4746.4 4746.4: 7712.6; 1 2: 1; 0.538 0.437: 0.583 | B
| 4746.4 4746.4: 7712.6; 1 2: 2; 0.538 0.437: 0.454 | B
| 4746.4 4746.4: 7712.6; 1 2: 3; 0.538 0.437: 0.525 | B
| 4746.4 4746.4: 7712.6; 1 2: 4; 0.538 0.437: 0.591 | B
| 4746.4 4746.4: 7712.6; 1 2: 5; 0.538 0.437: 0.681 | B
| 4746.4 4746.4: 7712.6; 1 2: 6; 0.538 0.437: 0.801 | B
| 4746.4 4746.4: 7712.6; 1 2: 7; 0.538 0.437: 0.889 | B
| 4746.4 4746.4: 7712.6; 1 2: 8; 0.538 0.437: 0.578 | B
| 4746.4 4746.4: 7712.6; 1 2: 9; 0.538 0.437: 1.875 | B
| 4746.4 4746.4: 7712.6; 1 2: 10; 0.538 0.437: 0.853 | B
| 4746.4 4746.4: 7712.6; 1 2: 11; 0.538 0.437: 1.276 | B
| 4746.4 4746.4: 7712.6; 1 2: 12; 0.538 0.437: 0.595 | B
| 4746.4 4746.4: 7712.6; 1 2: 1; 0.538 0.437: 0.577 | C
| 4746.4 4746.4: 7712.6; 1 2: 2; 0.538 0.437: 0.45 | C
| 4746.4 4746.4: 7712.6; 1 2: 3; 0.538 0.437: 0.532 | C
| 4746.4 4746.4: 7712.6; 1 2: 4; 0.538 0.437: 0.588 | C
| 4746.4 4746.4: 7712.6; 1 2: 5; 0.538 0.437: 0.659 | C
| 4746.4 4746.4: 7712.6; 1 2: 6; 0.538 0.437: 0.829 | C
| 4746.4 4746.4: 7712.6; 1 2: 7; 0.538 0.437: 0.806 | C
| 4746.4 4746.4: 7712.6; 1 2: 8; 0.538 0.437: 0.566 | C
| 4746.4 4746.4: 7712.6; 1 2: 9; 0.538 0.437: 1.823 | C
| 4746.4 4746.4: 7712.6; 1 2: 10; 0.538 0.437: 0.853 | C
| 4746.4 4746.4: 7712.6; 1 2: 11; 0.538 0.437: 1.614 | C
| 4746.4 4746.4: 7712.6; 1 2: 12; 0.538 0.437: 0.56 | C
| 4746.4 4746.4: 8305.9; 1 2: 1; 0.538 0.437: 0.556 | A
| 4746.4 4746.4: 8305.9; 1 2: 2; 0.538 0.437: 0.442 | A
| 4746.4 4746.4: 8305.9; 1 2: 3; 0.538 0.437: 0.501 | A
| 4746.4 4746.4: 8305.9; 1 2: 4; 0.538 0.437: 0.588 | A
| 4746.4 4746.4: 8305.9; 1 2: 5; 0.538 0.437: 0.642 | A
| 4746.4 4746.4: 8305.9; 1 2: 6; 0.538 0.437: 0.784 | A
| 4746.4 4746.4: 8305.9; 1 2: 7; 0.538 0.437: 0.842 | A
| 4746.4 4746.4: 8305.9; 1 2: 8; 0.538 0.437: 0.587 | A
| 4746.4 4746.4: 8305.9; 1 2: 9; 0.538 0.437: 1.977 | A
| 4746.4 4746.4: 8305.9; 1 2: 10; 0.538 0.437: 0.823 | A
| 4746.4 4746.4: 8305.9; 1 2: 11; 0.538 0.437: 1.224 | A
| 4746.4 4746.4: 8305.9; 1 2: 12; 0.538 0.437: 0.552 | A
| 4746.4 4746.4: 8305.9; 1 2: 1; 0.538 0.437: 0.585 | B
| 4746.4 4746.4: 8305.9; 1 2: 2; 0.538 0.437: 0.452 | B
| 4746.4 4746.4: 8305.9; 1 2: 3; 0.538 0.437: 0.524 | B
| 4746.4 4746.4: 8305.9; 1 2: 4; 0.538 0.437: 0.593 | B
| 4746.4 4746.4: 8305.9; 1 2: 5; 0.538 0.437: 0.679 | B
| 4746.4 4746.4: 8305.9; 1 2: 6; 0.538 0.437: 0.802 | B
| 4746.4 4746.4: 8305.9; 1 2: 7; 0.538 0.437: 0.888 | B
| 4746.4 4746.4: 8305.9; 1 2: 8; 0.538 0.437: 0.579 | B
| 4746.4 4746.4: 8305.9; 1 2: 9; 0.538 0.437: 1.851 | B
| 4746.4 4746.4: 8305.9; 1 2: 10; 0.538 0.437: 0.849 | B
| 4746.4 4746.4: 8305.9; 1 2: 11; 0.538 0.437: 1.284 | B
| 4746.4 4746.4: 8305.9; 1 2: 12; 0.538 0.437: 0.594 | B
| 4746.4 4746.4: 8305.9; 1 2: 1; 0.538 0.437: 0.578 | C
| 4746.4 4746.4: 8305.9; 1 2: 2; 0.538 0.437: 0.448 | C
| 4746.4 4746.4: 8305.9; 1 2: 3; 0.538 0.437: 0.526 | C
| 4746.4 4746.4: 8305.9; 1 2: 4; 0.538 0.437: 0.587 | C
| 4746.4 4746.4: 8305.9; 1 2: 5; 0.538 0.437: 0.659 | C
| 4746.4 4746.4: 8305.9; 1 2: 6; 0.538 0.437: 0.831 | C
| 4746.4 4746.4: 8305.9; 1 2: 7; 0.538 0.437: 0.797 | C
| 4746.4 4746.4: 8305.9; 1 2: 8; 0.538 0.437: 0.57 | C
| 4746.4 4746.4: 8305.9; 1 2: 9; 0.538 0.437: 1.824 | C
| 4746.4 4746.4: 8305.9; 1 2: 10; 0.538 0.437: 0.853 | C
| 4746.4 4746.4: 8305.9; 1 2: 11; 0.538 0.437: 1.625 | C
| 4746.4 4746.4: 8305.9; 1 2: 12; 0.538 0.437: 0.562 | C
| 4746.4 4746.4: 8899.1; 1 2: 1; 0.538 0.437: 0.56 | A
| 4746.4 4746.4: 8899.1; 1 2: 2; 0.538 0.437: 0.444 | A
| 4746.4 4746.4: 8899.1; 1 2: 3; 0.538 0.437: 0.505 | A
| 4746.4 4746.4: 8899.1; 1 2: 4; 0.538 0.437: 0.588 | A
| 4746.4 4746.4: 8899.1; 1 2: 5; 0.538 0.437: 0.645 | A
| 4746.4 4746.4: 8899.1; 1 2: 6; 0.538 0.437: 0.782 | A
| 4746.4 4746.4: 8899.1; 1 2: 7; 0.538 0.437: 0.841 | A
| 4746.4 4746.4: 8899.1; 1 2: 8; 0.538 0.437: 0.593 | A
| 4746.4 4746.4: 8899.1; 1 2: 9; 0.538 0.437: 1.977 | A
| 4746.4 4746.4: 8899.1; 1 2: 10; 0.538 0.437: 0.826 | A
| 4746.4 4746.4: 8899.1; 1 2: 11; 0.538 0.437: 1.178 | A
| 4746.4 4746.4: 8899.1; 1 2: 12; 0.538 0.437: 0.554 | A
| 4746.4 4746.4: 8899.1; 1 2: 1; 0.538 0.437: 0.584 | B
| 4746.4 4746.4: 8899.1; 1 2: 2; 0.538 0.437: 0.457 | B
| 4746.4 4746.4: 8899.1; 1 2: 3; 0.538 0.437: 0.526 | B
| 4746.4 4746.4: 8899.1; 1 2: 4; 0.538 0.437: 0.593 | B
| 4746.4 4746.4: 8899.1; 1 2: 5; 0.538 0.437: 0.677 | B
| 4746.4 4746.4: 8899.1; 1 2: 6; 0.538 0.437: 0.801 | B
| 4746.4 4746.4: 8899.1; 1 2: 7; 0.538 0.437: 0.886 | B
| 4746.4 4746.4: 8899.1; 1 2: 8; 0.538 0.437: 0.58 | B
| 4746.4 4746.4: 8899.1; 1 2: 9; 0.538 0.437: 1.869 | B
| 4746.4 4746.4: 8899.1; 1 2: 10; 0.538 0.437: 0.851 | B
| 4746.4 4746.4: 8899.1; 1 2: 11; 0.538 0.437: 1.315 | B
| 4746.4 4746.4: 8899.1; 1 2: 12; 0.538 0.437: 0.595 | B
| 4746.4 4746.4: 8899.1; 1 2: 1; 0.538 0.437: 0.586 | C
| 4746.4 4746.4: 8899.1; 1 2: 2; 0.538 0.437: 0.448 | C
| 4746.4 4746.4: 8899.1; 1 2: 3; 0.538 0.437: 0.525 | C
| 4746.4 4746.4: 8899.1; 1 2: 4; 0.538 0.437: 0.586 | C
| 4746.4 4746.4: 8899.1; 1 2: 5; 0.538 0.437: 0.658 | C
| 4746.4 4746.4: 8899.1; 1 2: 6; 0.538 0.437: 0.831 | C
| 4746.4 4746.4: 8899.1; 1 2: 7; 0.538 0.437: 0.798 | C
| 4746.4 4746.4: 8899.1; 1 2: 8; 0.538 0.437: 0.573 | C
| 4746.4 4746.4: 8899.1; 1 2: 9; 0.538 0.437: 1.821 | C
| 4746.4 4746.4: 8899.1; 1 2: 10; 0.538 0.437: 0.851 | C
| 4746.4 4746.4: 8899.1; 1 2: 11; 0.538 0.437: 1.624 | C
| 4746.4 4746.4: 8899.1; 1 2: 12; 0.538 0.437: 0.56 | C
| 4746.4 4746.4: 9492.3; 1 2: 1; 0.538 0.437: 0.562 | A
| 4746.4 4746.4: 9492.3; 1 2: 2; 0.538 0.437: 0.444 | A
| 4746.4 4746.4: 9492.3; 1 2: 3; 0.538 0.437: 0.504 | A
| 4746.4 4746.4: 9492.3; 1 2: 4; 0.538 0.437: 0.589 | A
| 4746.4 4746.4: 9492.3; 1 2: 5; 0.538 0.437: 0.644 | A
| 4746.4 4746.4: 9492.3; 1 2: 6; 0.538 0.437: 0.781 | A
| 4746.4 4746.4: 9492.3; 1 2: 7; 0.538 0.437: 0.84 | A
| 4746.4 4746.4: 9492.3; 1 2: 8; 0.538 0.437: 0.589 | A
| 4746.4 4746.4: 9492.3; 1 2: 9; 0.538 0.437: 1.975 | A
| 4746.4 4746.4: 9492.3; 1 2: 10; 0.538 0.437: 0.819 | A
| 4746.4 4746.4: 9492.3; 1 2: 11; 0.538 0.437: 1.152 | A
| 4746.4 4746.4: 9492.3; 1 2: 12; 0.538 0.437: 0.556 | A
| 4746.4 4746.4: 9492.3; 1 2: 1; 0.538 0.437: 0.588 | B
| 4746.4 4746.4: 9492.3; 1 2: 2; 0.538 0.437: 0.452 | B
| 4746.4 4746.4: 9492.3; 1 2: 3; 0.538 0.437: 0.525 | B
| 4746.4 4746.4: 9492.3; 1 2: 4; 0.538 0.437: 0.589 | B
| 4746.4 4746.4: 9492.3; 1 2: 5; 0.538 0.437: 0.677 | B
| 4746.4 4746.4: 9492.3; 1 2: 6; 0.538 0.437: 0.8 | B
| 4746.4 4746.4: 9492.3; 1 2: 7; 0.538 0.437: 0.882 | B
| 4746.4 4746.4: 9492.3; 1 2: 8; 0.538 0.437: 0.581 | B
| 4746.4 4746.4: 9492.3; 1 2: 9; 0.538 0.437: 1.862 | B
| 4746.4 4746.4: 9492.3; 1 2: 10; 0.538 0.437: 0.846 | B
| 4746.4 4746.4: 9492.3; 1 2: 11; 0.538 0.437: 1.318 | B
| 4746.4 4746.4: 9492.3; 1 2: 12; 0.538 0.437: 0.591 | B
| 4746.4 4746.4: 9492.3; 1 2: 1; 0.538 0.437: 0.579 | C
| 4746.4 4746.4: 9492.3; 1 2: 2; 0.538 0.437: 0.447 | C
| 4746.4 4746.4: 9492.3; 1 2: 3; 0.538 0.437: 0.527 | C
| 4746.4 4746.4: 9492.3; 1 2: 4; 0.538 0.437: 0.584 | C
| 4746.4 4746.4: 9492.3; 1 2: 5; 0.538 0.437: 0.656 | C
| 4746.4 4746.4: 9492.3; 1 2: 6; 0.538 0.437: 0.823 | C
| 4746.4 4746.4: 9492.3; 1 2: 7; 0.538 0.437: 0.796 | C
| 4746.4 4746.4: 9492.3; 1 2: 8; 0.538 0.437: 0.574 | C
| 4746.4 4746.4: 9492.3; 1 2: 9; 0.538 0.437: 1.819 | C
| 4746.4 4746.4: 9492.3; 1 2: 10; 0.538 0.437: 0.849 | C
| 4746.4 4746.4: 9492.3; 1 2: 11; 0.538 0.437: 1.64 | C
| 4746.4 4746.4: 9492.3; 1 2: 12; 0.538 0.437: 0.564 | C
| 4746.4 4746.4: 10085.5; 1 2: 1; 0.538 0.437: 0.562 | A
| 4746.4 4746.4: 10085.5; 1 2: 2; 0.538 0.437: 0.441 | A
| 4746.4 4746.4: 10085.5; 1 2: 3; 0.538 0.437: 0.504 | A
| 4746.4 4746.4: 10085.5; 1 2: 4; 0.538 0.437: 0.588 | A
| 4746.4 4746.4: 10085.5; 1 2: 5; 0.538 0.437: 0.643 | A
| 4746.4 4746.4: 10085.5; 1 2: 6; 0.538 0.437: 0.779 | A
| 4746.4 4746.4: 10085.5; 1 2: 7; 0.538 0.437: 0.839 | A
| 4746.4 4746.4: 10085.5; 1 2: 8; 0.538 0.437: 0.593 | A
| 4746.4 4746.4: 10085.5; 1 2: 9; 0.538 0.437: 1.977 | A
| 4746.4 4746.4: 10085.5; 1 2: 10; 0.538 0.437: 0.825 | A
| 4746.4 4746.4: 10085.5; 1 2: 11; 0.538 0.437: 1.151 | A
| 4746.4 4746.4: 10085.5; 1 2: 12; 0.538 0.437: 0.564 | A
| 4746.4 4746.4: 10085.5; 1 2: 1; 0.538 0.437: 0.592 | B
| 4746.4 4746.4: 10085.5; 1 2: 2; 0.538 0.437: 0.456 | B
| 4746.4 4746.4: 10085.5; 1 2: 3; 0.538 0.437: 0.529 | B
| 4746.4 4746.4: 10085.5; 1 2: 4; 0.538 0.437: 0.59 | B
| 4746.4 4746.4: 10085.5; 1 2: 5; 0.538 0.437: 0.679 | B
| 4746.4 4746.4: 10085.5; 1 2: 6; 0.538 0.437: 0.802 | B
| 4746.4 4746.4: 10085.5; 1 2: 7; 0.538 0.437: 0.887 | B
| 4746.4 4746.4: 10085.5; 1 2: 8; 0.538 0.437: 0.587 | B
| 4746.4 4746.4: 10085.5; 1 2: 9; 0.538 0.437: 1.87 | B
| 4746.4 4746.4: 10085.5; 1 2: 10; 0.538 0.437: 0.848 | B
| 4746.4 4746.4: 10085.5; 1 2: 11; 0.538 0.437: 1.297 | B
| 4746.4 4746.4: 10085.5; 1 2: 12; 0.538 0.437: 0.594 | B
| 4746.4 4746.4: 10085.5; 1 2: 1; 0.538 0.437: 0.589 | C
| 4746.4 4746.4: 10085.5; 1 2: 2; 0.538 0.437: 0.45 | C
| 4746.4 4746.4: 10085.5; 1 2: 3; 0.538 0.437: 0.53 | C
| 4746.4 4746.4: 10085.5; 1 2: 4; 0.538 0.437: 0.589 | C
| 4746.4 4746.4: 10085.5; 1 2: 5; 0.538 0.437: 0.658 | C
| 4746.4 4746.4: 10085.5; 1 2: 6; 0.538 0.437: 0.829 | C
| 4746.4 4746.4: 10085.5; 1 2: 7; 0.538 0.437: 0.799 | C
| 4746.4 4746.4: 10085.5; 1 2: 8; 0.538 0.437: 0.579 | C
| 4746.4 4746.4: 10085.5; 1 2: 9; 0.538 0.437: 1.824 | C
| 4746.4 4746.4: 10085.5; 1 2: 10; 0.538 0.437: 0.856 | C
| 4746.4 4746.4: 10085.5; 1 2: 11; 0.538 0.437: 1.652 | C
| 4746.4 4746.4: 10085.5; 1 2: 12; 0.538 0.437: 0.567 | C
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12
1
2
3
4
5
6
7
8
9
10
11
12

## Parameters
PARAMETERS
MEASUREMENT START DATE | 3/24/2023 8:05:14 PM |  | UTC | 2023-03-25T00:05:14+0000
MEASUREMENT END DATE | 3/24/2023 10:57:32 PM |  | UTC | 2023-03-25T02:57:32+0000
USER NAME | mt274
MEASUREMENT COMMENTS
User interface program version | 5.0.0
Instrument serial number | 1022134
PROTOCOL CREATION DATE | 3/24/2023 8:03:32 PM |  | UTC | 2023-03-25T00:03:32+0000
PROTOCOL CREATOR NAME | mt274
PROTOCOL RUN TYPE | START
PLATES WITH LIDS | n.a.
MEASURE WITH LIDS | n.a.
BARCODE READING | n.a.
PLATE TYPE | General 96
PLATE FORMAT | 96 wells (8X12)
PLATE PARAMETERS
A1 row-coordinate(µm) | 11240
A1 column-coordinate(µm) | 14380
Well spacing (µm) | 9000
Well diameter(µm) | 6500
Well volume(µl) | 200
1 OPERATION | Plate Kinetics-Plate start
KINETIC CYCLES | 18
CYCLE TIME | 0 hours 10 minutes 0.0 seconds
SHAKE WHILE WAITING | No
MEASUREMENT ORDER | Bi-directional by rows
2 OPERATION | Shaker-Shake in Kinetics
SHAKE TYPE | Orbital
SHAKE POSITION | Inside
SHAKE SPEED (rpm) | 300
SHAKE TIME | 0 hours 1 minutes 0 seconds
SHAKING CYCLES | Every cycle
3 OPERATION | ABS (F)-Plate Kinetics
MEASUREMENT UNIT | OD
MEASUREMENT TYPE | Single label
EXCITATION FILTER | 405/10nm
MEASUREMENT TIME (ms) | 500
4 OPERATION | Plate Kinetics-Plate end
PROTOCOL COMMENT
PLATE MAP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
B | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
C | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
D | X | X | X | X | X | X | X | X | X | X | X | X
E | X | X | X | X | X | X | X | X | X | X | X | X
F | X | X | X | X | X | X | X | X | X | X | X | X
G | X | X | X | X | X | X | X | X | X | X | X | X
H | X | X | X | X | X | X | X | X | X | X | X | X