## Plate results
PLATE RESULTS
PROTOCOL RUN TYPE | START
PROTOCOL NAME | QS Gone Krystal Violet Assay
MEASUREMENT START DATE | 5/1/2023 4:17:01 PM |  | UTC | 2023-05-01T20:17:01+0000
MEASUREMENT END DATE | 5/1/2023 4:18:14 PM |  | UTC | 2023-05-01T20:18:14+0000
Plate | 0
Barcode | 0
1 OPERATION | ABS (F) - EndPoint
TEMPERATURE(Celsius) | 23.6
| E Cloacae |  |  | E Cloacae GFP |  |  | P Fluoroscens |  |  | E coli
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | nM PON2
A | 0.071 | 0.07 | 0.067 | 0.1 | 0.166 | 0.106 | 0.073 | 0.069 | 0.074 | 0.078 | 0.074 | 0.076 | 0
B | 0.067 | 0.074 | 0.07 | 0.077 | 0.082 | 0.09 | 0.068 | 0.067 | 0.067 | 0.068 | 0.07 | 0.069 | 0.01
C | 0.065 | 0.065 | 0.067 | 0.075 | 0.08 | 0.084 | 0.074 | 0.07 | 0.068 | 0.07 | 0.08 | 0.07 | 0.1
D | 0.083 | 0.07 | 0.067 | 0.08 | 0.095 | 0.083 | 0.072 | 0.073 | 0.07 | 0.066 | 0.074 | 0.08 | 1
E | 0.083 | 0.069 | 0.088 | 0.085 | 0.084 | 0.087 | 0.076 | 0.072 | 0.072 | 0.073 | 0.075 | 0.078 | 10
F | 0.073 | 0.071 | 0.075 | 0.09 | 0.097 | 0.084 | 0.071 | 0.085 | 0.074 | 0.074 | 0.081 | 0.078 | 100
G | 0.073 | 0.077 | 0.076 | 0.093 | 0.099 | 0.1 | 0.084 | 0.079 | 0.083 | 0.083 | 0.086 | 0.09 | 1000
H | 0.099 | 0.115 | 0.122 | 0.099 | 0.099 | 0.094 | 0.096 | 0.095 | 0.12 | 0.087 | 0.118 | 0.269 | Blank

## Parameters
PARAMETERS
MEASUREMENT START DATE | 5/1/2023 4:17:01 PM |  | UTC | 2023-05-01T20:17:01+0000
MEASUREMENT END DATE | 5/1/2023 4:18:14 PM |  | UTC | 2023-05-01T20:18:14+0000
USER NAME
MEASUREMENT COMMENTS
User interface program version | 5.0.0
Instrument serial number | 1022134
PROTOCOL CREATION DATE | 5/1/2023 4:08:52 PM |  | UTC | 2023-05-01T20:08:52+0000
PROTOCOL CREATOR NAME
PROTOCOL RUN TYPE | START
PLATES WITH LIDS | n.a.
MEASURE WITH LIDS | n.a.
BARCODE READING | n.a.
PLATE TYPE | General 96
PLATE FORMAT | 96 wells (8X12)
PLATE PARAMETERS
A1 row-coordinate(µm) | 11240
A1 column-coordinate(µm) | 14380
Well spacing (µm) | 9000
Well diameter(µm) | 6500
Well volume(µl) | 200
1 OPERATION | ABS (F)-EndPoint
MEASUREMENT UNIT | OD
MEASUREMENT TYPE | Single label
EXCITATION FILTER | 595/10nm
MEASUREMENT TIME (ms) | 500
MEASUREMENT ORDER | Bi-directional by rows
PROTOCOL COMMENT
PLATE MAP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
B | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
C | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
D | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
E | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
F | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
G | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
H | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
SAMPLE CONCENTRATIONS
Standard 1 (S1): | 10 | uM
Standard 2 (S2): | 20 | uM
Standard 3 (S3): | 100 | uM
Standard 4 (S4): | 500 | uM
Standard 5 (S5): | 1000 | uM