## Plate results
PLATE RESULTS
PROTOCOL RUN TYPE | START
PROTOCOL NAME | phenol red
MEASUREMENT START DATE | 4/7/2023 5:23:20 PM |  | UTC | 2023-04-07T21:23:20+0000
MEASUREMENT END DATE | 4/7/2023 6:10:45 PM |  | UTC | 2023-04-07T22:10:45+0000
Plate | 0
Barcode | 0
3 OPERATION | ABS (F) - Kinetics | [12 empty] | Standard Curve to Concentration
TEMPERATURE(Celsius) | 37 | [12 empty] | https://chem.libretexts.org/Courses/Duke_University/CHEM_401L%3A_Analytical_Chemistry_Lab_Manual/01%3A_Orientation_to_this_course/1.05%3A_Uncertainty_in_values_determined_from_a_Calibration_Curve
Cycle | 1 | Time(s) | 0
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 8 | 7.63 | 7.47 | 7.29 | 7 | 6.23 | blank | lactone | PON2 | lactone +PON2 | acetic acid
A | 0.587 | 0.582 | 0.58 | 0.56 | 0.539 | 0.506 | 0.605 | 0.634 | 0.598 | 0.646 | 0.718 | 0.059 | abs avg | 0.60433 | 0.58433 | 0.58233 | 0.566 | 0.54667 | 0.51067 | 0.604 | 0.64433 | 0.60467 | 0.649 | 0.70533
B | 0.612 | 0.584 | 0.582 | 0.564 | 0.547 | 0.514 | 0.606 | 0.653 | 0.614 | 0.65 | 0.701 | 0.055 | abs std | 0.0086859 | 0.001453 | 0.001453 | 0.0041633 | 0.0043333 | 0.0024037 | 0.0015275 | 0.0055478 | 0.0048074 | 0.0015275 | 0.0064377
C | 0.614 | 0.587 | 0.585 | 0.574 | 0.554 | 0.512 | 0.601 | 0.646 | 0.602 | 0.651 | 0.697 | 0.056 | pH | 7.9785 | 7.6095 | 7.5726 | 7.2712 | 6.9145 | 6.2503 | 7.9723 | 8.7165 | 7.9846 | 8.8026 | 9.8419
D | 0.057 | 0.053 | 0.06 | 0.056 | 0.059 | 0.057 | 0.06 | 0.06 | 0.059 | 0.054 | 0.056 | 0.059 | error pH | 0.11102 | 0.10262 | 0.10208 | 0.099938 | 0.10275 | 0.12142 | 0.11084 | 0.1403 | 0.11121 | 0.14446 | 0.20141
E | 0.058 | 0.061 | 0.06 | 0.061 | 0.06 | 0.061 | 0.056 | 0.056 | 0.058 | 0.058 | 0.058 | 0.058 | 95% conf | 0.23537 | 0.21755 | 0.21641 | 0.21187 | 0.21783 | 0.25741 | 0.23499 | 0.29743 | 0.23576 | 0.30625 | 0.427
F | 0.06 | 0.057 | 0.061 | 0.06 | 0.058 | 0.058 | 0.06 | 0.06 | 0.056 | 0.06 | 0.055 | 0.057
G | 0.059 | 0.056 | 0.059 | 0.057 | 0.061 | 0.057 | 0.055 | 0.058 | 0.059 | 0.053 | 0.057 | 0.058
H | 0.058 | 0.058 | 0.056 | 0.06 | 0.055 | 0.058 | 0.055 | 0.06 | 0.061 | 0.058 | 0.057 | 0.055
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 2 | Time(s) | 298.4 | [5 empty] | sa | 0.0025277
Plate | 0
Barcode | 0 | [12 empty] | pH | ABS | est | (ABS-est)sq | sr
[14 empty] | 8 | 0.587 | 0.6055 | 0.00034225 | 0.0075041 | sr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 8 | 0.612 | 0.6055 | 4.225e-05 | 0.0542 | b1
A | 0.586 | 0.586 | 0.58 | 0.561 | 0.538 | 0.507 | 0.606 | 0.642 | 0.6 | 0.646 | 0.718 | 0.055 |  | 8 | 0.614 | 0.6055 | 7.225e-05 | 0.1719 | b0
B | 0.614 | 0.583 | 0.582 | 0.564 | 0.547 | 0.51 | 0.604 | 0.656 | 0.616 | 0.648 | 0.702 | 0.055 |  | 7.63 | 0.582 | 0.58545 | 1.1875e-05 | 0.9478 | r2
C | 0.617 | 0.588 | 0.583 | 0.571 | 0.559 | 0.515 | 0.604 | 0.648 | 0.614 | 0.659 | 0.698 | 0.055 |  | 7.63 | 0.584 | 0.58545 | 2.0909e-06 | 0.56572 | avg sig
D | 0.055 | 0.056 | 0.056 | 0.053 | 0.051 | 0.055 | 0.057 | 0.058 | 0.056 | 0.053 | 0.056 | 0.057 |  | 7.63 | 0.587 | 0.58545 | 2.4149e-06 | 5.5722 | deviation of C std
E | 0.056 | 0.059 | 0.058 | 0.056 | 0.059 | 0.06 | 0.059 | 0.058 | 0.057 | 0.06 | 0.058 | 0.054 |  | 7.47 | 0.58 | 0.57677 | 1.0407e-05 | 2.12 | t for 95% CI 18-2 dof | [10 empty] | Variances |  | D of Freedom
F | 0.058 | 0.057 | 0.053 | 0.058 | 0.058 | 0.057 | 0.053 | 0.056 | 0.056 | 0.057 | 0.054 | 0.055 |  | 7.47 | 0.582 | 0.57677 | 2.7311e-05 | [12 empty] | Approx. equal |  | 4 | Unpaired t test, 2 sided
G | 0.056 | 0.058 | 0.055 | 0.057 | 0.061 | 0.054 | 0.055 | 0.056 | 0.058 | 0.059 | 0.056 | 0.057 |  | 7.47 | 0.585 | 0.57677 | 6.7667e-05 | [9 empty] | p val | x1 | x2 | sem1 | sem2 | t score | p value
H | 0.054 | 0.059 | 0.055 | 0.054 | 0.056 | 0.058 | 0.055 | 0.057 | 0.056 | 0.056 | 0.058 | 0.053 |  | 7.29 | 0.56 | 0.56702 | 4.9252e-05 | [7 empty] | blank | lactone | 0.014123 | 7.9723 | 8.7165 | 0.11084 | 0.1403 | 4.162 | 0.014123
[14 empty] | 7.29 | 0.564 | 0.56702 | 9.1083e-06 | [7 empty] | blank | PON2 | 0.94132 | 7.9723 | 7.9846 | 0.11084 | 0.11121 | 0.078338 | 0.94132
3 OPERATION | ABS (F) - Kinetics | [12 empty] | 7.29 | 0.574 | 0.56702 | 4.8748e-05 | [7 empty] | blank | lactone + PON2 | 0.010341 | 7.9723 | 8.8026 | 0.11084 | 0.14446 | 4.5598 | 0.010341
TEMPERATURE(Celsius) | 37 | [12 empty] | 7 | 0.539 | 0.5513 | 0.00015129 | [7 empty] | blank | acetic acid | 0.0012438 | 7.9723 | 9.8419 | 0.11084 | 0.20141 | 8.1323 | 0.0012438
Cycle | 3 | Time(s) | 595.6 | [10 empty] | 7 | 0.547 | 0.5513 | 1.849e-05 | [7 empty] | lactone | lactone + PON2 | 0.69098 | 8.7165 | 8.8026 | 0.1403 | 0.14446 | 0.42757 | 0.69098
Plate | 0 | [12 empty] | 7 | 0.554 | 0.5513 | 7.29e-06 | [7 empty] | PON2 | lactone + PON2 | 0.010933 | 7.9846 | 8.8026 | 0.11121 | 0.14446 | 4.4867 | 0.010933
Barcode | 0 | [12 empty] | 6.23 | 0.506 | 0.50957 | 1.2716e-05
[14 empty] | 6.23 | 0.514 | 0.50957 | 1.966e-05
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 6.23 | 0.512 | 0.50957 | 5.9244e-06
A | 0.586 | 0.587 | 0.58 | 0.559 | 0.541 | 0.509 | 0.608 | 0.643 | 0.597 | 0.644 | 0.719 | 0.056
B | 0.612 | 0.586 | 0.582 | 0.564 | 0.541 | 0.511 | 0.604 | 0.656 | 0.612 | 0.647 | 0.703 | 0.049
C | 0.618 | 0.587 | 0.584 | 0.574 | 0.556 | 0.514 | 0.604 | 0.656 | 0.609 | 0.656 | 0.697 | 0.058
D | 0.054 | 0.054 | 0.056 | 0.055 | 0.055 | 0.056 | 0.053 | 0.055 | 0.058 | 0.056 | 0.055 | 0.058
E | 0.055 | 0.054 | 0.052 | 0.049 | 0.058 | 0.055 | 0.056 | 0.055 | 0.058 | 0.055 | 0.054 | 0.056
F | 0.061 | 0.06 | 0.058 | 0.059 | 0.056 | 0.057 | 0.055 | 0.056 | 0.054 | 0.056 | 0.055 | 0.056
G | 0.057 | 0.057 | 0.057 | 0.057 | 0.058 | 0.057 | 0.055 | 0.056 | 0.054 | 0.057 | 0.05 | 0.055
H | 0.053 | 0.056 | 0.055 | 0.057 | 0.058 | 0.056 | 0.054 | 0.056 | 0.058 | 0.052 | 0.056 | 0.056
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 4 | Time(s) | 892.9
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.594 | 0.588 | 0.585 | 0.564 | 0.545 | 0.512 | 0.611 | 0.647 | 0.598 | 0.652 | 0.731 | 0.058
B | 0.615 | 0.585 | 0.586 | 0.568 | 0.55 | 0.514 | 0.611 | 0.665 | 0.617 | 0.653 | 0.706 | 0.055
C | 0.62 | 0.596 | 0.59 | 0.578 | 0.562 | 0.518 | 0.609 | 0.659 | 0.616 | 0.663 | 0.708 | 0.06
D | 0.055 | 0.059 | 0.06 | 0.059 | 0.057 | 0.055 | 0.056 | 0.058 | 0.06 | 0.06 | 0.059 | 0.061
E | 0.058 | 0.062 | 0.057 | 0.06 | 0.064 | 0.06 | 0.061 | 0.061 | 0.056 | 0.057 | 0.058 | 0.061
F | 0.061 | 0.063 | 0.06 | 0.059 | 0.062 | 0.058 | 0.059 | 0.059 | 0.053 | 0.062 | 0.058 | 0.06
G | 0.061 | 0.059 | 0.061 | 0.06 | 0.064 | 0.063 | 0.062 | 0.059 | 0.064 | 0.061 | 0.06 | 0.063
H | 0.055 | 0.062 | 0.059 | 0.059 | 0.055 | 0.054 | 0.06 | 0.055 | 0.061 | 0.061 | 0.057 | 0.06
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 5 | Time(s) | 1190.1
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.591 | 0.591 | 0.589 | 0.564 | 0.542 | 0.513 | 0.615 | 0.655 | 0.6 | 0.647 | 0.729 | 0.059
B | 0.613 | 0.583 | 0.586 | 0.565 | 0.55 | 0.516 | 0.607 | 0.665 | 0.618 | 0.652 | 0.71 | 0.056
C | 0.621 | 0.59 | 0.591 | 0.575 | 0.559 | 0.518 | 0.61 | 0.659 | 0.609 | 0.657 | 0.707 | 0.054
D | 0.056 | 0.056 | 0.057 | 0.056 | 0.054 | 0.056 | 0.055 | 0.059 | 0.054 | 0.054 | 0.056 | 0.055
E | 0.056 | 0.059 | 0.055 | 0.057 | 0.065 | 0.058 | 0.058 | 0.057 | 0.057 | 0.058 | 0.055 | 0.057
F | 0.059 | 0.062 | 0.058 | 0.056 | 0.059 | 0.053 | 0.058 | 0.059 | 0.056 | 0.06 | 0.058 | 0.057
G | 0.064 | 0.057 | 0.059 | 0.064 | 0.055 | 0.054 | 0.055 | 0.056 | 0.06 | 0.052 | 0.057 | 0.056
H | 0.056 | 0.061 | 0.056 | 0.057 | 0.058 | 0.061 | 0.055 | 0.058 | 0.06 | 0.058 | 0.057 | 0.057
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 6 | Time(s) | 1487.3
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.587 | 0.59 | 0.588 | 0.565 | 0.542 | 0.509 | 0.611 | 0.652 | 0.595 | 0.643 | 0.725 | 0.055
B | 0.614 | 0.586 | 0.582 | 0.567 | 0.552 | 0.518 | 0.61 | 0.665 | 0.615 | 0.653 | 0.705 | 0.052
C | 0.616 | 0.588 | 0.589 | 0.571 | 0.561 | 0.519 | 0.606 | 0.659 | 0.609 | 0.66 | 0.702 | 0.051
D | 0.059 | 0.055 | 0.058 | 0.054 | 0.055 | 0.054 | 0.055 | 0.058 | 0.055 | 0.056 | 0.056 | 0.055
E | 0.053 | 0.055 | 0.056 | 0.057 | 0.06 | 0.055 | 0.057 | 0.056 | 0.055 | 0.057 | 0.057 | 0.053
F | 0.064 | 0.057 | 0.057 | 0.055 | 0.056 | 0.056 | 0.056 | 0.057 | 0.056 | 0.058 | 0.056 | 0.054
G | 0.054 | 0.059 | 0.054 | 0.055 | 0.059 | 0.057 | 0.058 | 0.054 | 0.055 | 0.057 | 0.054 | 0.056
H | 0.055 | 0.063 | 0.06 | 0.058 | 0.054 | 0.054 | 0.055 | 0.057 | 0.056 | 0.057 | 0.057 | 0.055
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 7 | Time(s) | 1784.6
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.591 | 0.587 | 0.586 | 0.564 | 0.542 | 0.514 | 0.611 | 0.652 | 0.597 | 0.646 | 0.721 | 0.055
B | 0.609 | 0.586 | 0.589 | 0.571 | 0.551 | 0.518 | 0.608 | 0.665 | 0.616 | 0.651 | 0.704 | 0.056
C | 0.617 | 0.592 | 0.592 | 0.578 | 0.558 | 0.516 | 0.609 | 0.663 | 0.611 | 0.661 | 0.707 | 0.055
D | 0.056 | 0.056 | 0.057 | 0.057 | 0.057 | 0.056 | 0.059 | 0.056 | 0.057 | 0.059 | 0.056 | 0.058
E | 0.056 | 0.057 | 0.057 | 0.056 | 0.062 | 0.058 | 0.056 | 0.058 | 0.058 | 0.056 | 0.06 | 0.056
F | 0.056 | 0.057 | 0.058 | 0.058 | 0.059 | 0.059 | 0.055 | 0.054 | 0.058 | 0.064 | 0.055 | 0.059
G | 0.055 | 0.056 | 0.058 | 0.055 | 0.054 | 0.056 | 0.061 | 0.055 | 0.055 | 0.055 | 0.057 | 0.057
H | 0.056 | 0.062 | 0.06 | 0.062 | 0.057 | 0.06 | 0.055 | 0.059 | 0.057 | 0.058 | 0.056 | 0.058
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 8 | Time(s) | 2081.8
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.587 | 0.589 | 0.583 | 0.562 | 0.542 | 0.512 | 0.612 | 0.657 | 0.596 | 0.649 | 0.724 | 0.058
B | 0.612 | 0.586 | 0.585 | 0.569 | 0.549 | 0.517 | 0.608 | 0.666 | 0.612 | 0.655 | 0.707 | 0.052
C | 0.619 | 0.593 | 0.588 | 0.577 | 0.563 | 0.519 | 0.609 | 0.663 | 0.61 | 0.665 | 0.712 | 0.054
D | 0.054 | 0.057 | 0.058 | 0.056 | 0.054 | 0.054 | 0.052 | 0.053 | 0.055 | 0.051 | 0.053 | 0.054
E | 0.054 | 0.055 | 0.054 | 0.056 | 0.057 | 0.053 | 0.053 | 0.057 | 0.058 | 0.056 | 0.058 | 0.053
F | 0.058 | 0.056 | 0.057 | 0.06 | 0.055 | 0.055 | 0.056 | 0.053 | 0.055 | 0.055 | 0.057 | 0.058
G | 0.059 | 0.06 | 0.058 | 0.058 | 0.059 | 0.059 | 0.054 | 0.06 | 0.056 | 0.056 | 0.058 | 0.054
H | 0.056 | 0.057 | 0.056 | 0.057 | 0.057 | 0.056 | 0.058 | 0.054 | 0.056 | 0.058 | 0.059 | 0.059
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 9 | Time(s) | 2379.1
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.586 | 0.587 | 0.585 | 0.562 | 0.54 | 0.511 | 0.609 | 0.66 | 0.595 | 0.65 | 0.72 | 0.055
B | 0.61 | 0.586 | 0.586 | 0.569 | 0.55 | 0.517 | 0.608 | 0.664 | 0.616 | 0.658 | 0.705 | 0.054
C | 0.616 | 0.588 | 0.589 | 0.577 | 0.563 | 0.515 | 0.61 | 0.665 | 0.607 | 0.666 | 0.707 | 0.057
D | 0.056 | 0.055 | 0.058 | 0.057 | 0.053 | 0.056 | 0.056 | 0.061 | 0.052 | 0.056 | 0.054 | 0.055
E | 0.055 | 0.056 | 0.055 | 0.057 | 0.062 | 0.055 | 0.055 | 0.057 | 0.055 | 0.054 | 0.052 | 0.057
F | 0.058 | 0.054 | 0.057 | 0.058 | 0.058 | 0.056 | 0.055 | 0.058 | 0.056 | 0.059 | 0.052 | 0.055
G | 0.056 | 0.056 | 0.057 | 0.059 | 0.06 | 0.057 | 0.053 | 0.054 | 0.056 | 0.058 | 0.056 | 0.056
H | 0.056 | 0.056 | 0.055 | 0.055 | 0.056 | 0.057 | 0.056 | 0.055 | 0.056 | 0.055 | 0.057 | 0.057
3 OPERATION | ABS (F) - Kinetics
TEMPERATURE(Celsius) | 37
Cycle | 10 | Time(s) | 2676.3
Plate | 0
Barcode | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.587 | 0.589 | 0.583 | 0.561 | 0.544 | 0.514 | 0.611 | 0.663 | 0.596 | 0.653 | 0.722 | 0.058
B | 0.608 | 0.586 | 0.588 | 0.566 | 0.552 | 0.519 | 0.613 | 0.669 | 0.615 | 0.662 | 0.709 | 0.054
C | 0.616 | 0.591 | 0.588 | 0.576 | 0.56 | 0.52 | 0.608 | 0.666 | 0.608 | 0.666 | 0.709 | 0.057
D | 0.059 | 0.057 | 0.056 | 0.059 | 0.059 | 0.058 | 0.055 | 0.059 | 0.053 | 0.054 | 0.058 | 0.058
E | 0.057 | 0.062 | 0.057 | 0.059 | 0.059 | 0.06 | 0.058 | 0.056 | 0.057 | 0.06 | 0.056 | 0.058
F | 0.054 | 0.056 | 0.059 | 0.059 | 0.059 | 0.06 | 0.059 | 0.056 | 0.059 | 0.061 | 0.055 | 0.058
G | 0.061 | 0.056 | 0.059 | 0.057 | 0.057 | 0.059 | 0.058 | 0.055 | 0.059 | 0.06 | 0.062 | 0.058
H | 0.055 | 0.058 | 0.057 | 0.057 | 0.058 | 0.055 | 0.061 | 0.058 | 0.06 | 0.057 | 0.061 | 0.058

## Parameters
PARAMETERS
MEASUREMENT START DATE | 4/7/2023 5:23:20 PM |  | UTC | 2023-04-07T21:23:20+0000
MEASUREMENT END DATE | 4/7/2023 6:10:45 PM |  | UTC | 2023-04-07T22:10:45+0000
USER NAME
MEASUREMENT COMMENTS
User interface program version | 5.0.0
Instrument serial number | 1022134
PROTOCOL CREATION DATE | 4/7/2023 5:23:17 PM |  | UTC | 2023-04-07T21:23:17+0000
PROTOCOL CREATOR NAME
PROTOCOL RUN TYPE | START
PLATES WITH LIDS | n.a.
MEASURE WITH LIDS | n.a.
BARCODE READING | n.a.
PLATE TYPE | General 96
PLATE FORMAT | 96 wells (8X12)
PLATE PARAMETERS
A1 row-coordinate(µm) | 11240
A1 column-coordinate(µm) | 14380
Well spacing (µm) | 9000
Well diameter(µm) | 6500
Well volume(µl) | 200
1 OPERATION | Plate Kinetics-Plate start
KINETIC CYCLES | 10
CYCLE TIME | 0 hours 5 minutes 0.0 seconds
SHAKE WHILE WAITING | No
MEASUREMENT ORDER | Bi-directional by rows
2 OPERATION | Shaker-Shake in Kinetics
SHAKE TYPE | Orbital
SHAKE POSITION | Inside
SHAKE SPEED (rpm) | 300
SHAKE TIME | 0 hours 1 minutes 0 seconds
SHAKING CYCLES | Every cycle
3 OPERATION | ABS (F)-Plate Kinetics
MEASUREMENT UNIT | OD
MEASUREMENT TYPE | Single label
EXCITATION FILTER | 405/10nm
MEASUREMENT TIME (ms) | 500
4 OPERATION | Plate Kinetics-Plate end
PROTOCOL COMMENT
PLATE MAP
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
B | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
C | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1 | U1
D | X | X | X | X | X | X | X | X | X | X | X | X
E | X | X | X | X | X | X | X | X | X | X | X | X
F | X | X | X | X | X | X | X | X | X | X | X | X
G | X | X | X | X | X | X | X | X | X | X | X | X
H | X | X | X | X | X | X | X | X | X | X | X | X